## CH1 Scope
Questions |  | FINAL | Shared Response
Section 1 – Medical devices and IVD scope
1.1 | Do you think the scope of the UK medical devices regulations should be expanded to include the additions suggested above? (Yes / No / Don’t know / No opinion) | Y | Y
1.2 | Please set out what (if any) further amendments you would like to make to the scope of the UK medical devices regulations. | A new S.I. should be created rather than an amendment or supplement to the 2002 S.I. which has been amended many times already. See below. See below. It is important to have the authority to regulate products as set out in 1.6 and 1.9. | New regulations should be created as the current 2002 UK regulations have too many amendments or supplements. It is important to have the authority to regulate products as set out in 1.6 and 1.9.
1.3 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 1.1-1.2, including any impacts on you or other stakeholder groups. | Q1.1 An amendment to the existing 2002 regulations, which have been amended many time already, will result in difficulties, confusion and the higher possibility of mistakes. This may put off developers and manufacturers. An absolute minimum would be a consolidated version of the existing S.I. incorporating these amendments. A radically new set of regulation warrants the creation of a new S.I. which could be achieved by a very small amendment to the Health and Care Bill now before Parliament allowing for “amending supplementing or replacing the Medical Devices Regulations 2002 (S.I. 2002/618)”. Para 1.6 and 1.8 The current definitions, based on the MDD, are out of date and not comprehensive enough. The definition of an MD in the EU MDR is very similar to that in GHTF/SG1/N071:2012 (which we understand is still in use by IMDRF), but the EU MDR definition is better worded and should be used. | Q1.1 Another amendment to the existing 2002 regulations, which have been amended many times, could result in difficulties and confusion for manufacturers, and increase the possibility of mistakes. A radically new set of regulation warrants the creation of a new S.I. which could be achieved by a very small amendment to the Health and Care Bill now before Parliament allowing for “amending supplementing or replacing the Medical Devices Regulations 2002 (S.I. 2002/618)”. A consolidated version of existing regulations to include all ammendments would be desirable if a new statutory instrument cannot be created.
1.4 | Should we make clear that 'intended purpose' is to be construed objectively and that key materials such as a manufacturer's technical documentation may be used as evidence of intended purpose? (Yes / No / Don’t know / No opinion) | Y | Y
1.5 | Please set out the reasoning for your reply to question 1.4, including your views on the materials that should be taken to evidence intended purpose, and any implementation considerations and expected impacts of any proposed changes. | There have been examples e.g. infant apnoea monitors, of manufacturers selling devices having the same functionality as CE marked devices but claiming they are not MDs. In this example stating they are ‘parental reassurance devices’. Likewise for software the inclusion of devices which support decision making should be clearer as many manufacturers claim these software and apps are for research / educational purposes when in fact they are predictors of illness or complications which directly influence clinical decision making. The objective functionality of a device's marketing literature and advertising etc. should be taken into account in assessing whether it is an MD. | There have been examples such as infant apnoea monitors, of manufacturers selling devices having the same functionality as CE marked devices but claiming they are not MDs. Software which supports decision making should be included. Manufacturers which claim these software and apps are for research / educational purposes include predictors of illness or complications which directly influence clinical decision making. All materials used by the manufacturer to advertise and manufacture the product should be used to assess whether a device meets the definition of being a medical device.
Section 2 – Products without a medical purpose
2.1 | Do you think the scope of the UK medical devices regulations should be broadened to include devices without a medical purpose with similar risk profiles to medical devices? (Yes / No / Don’t know / No opinion) | Y | Y
2.2 | Please provide your reasoning for your response to question 2.1. | Such devices often have similar risk profiles as those designated as MDs. Some are or can be used in a medical context e.g. laser devices for tattoo removal. Software or Apps which support a patients ability to self ‘treat’ their illness or injury, such as those that provide exercise advice after surgery | Devices that have similar risk profiles to medical devices should be included. Some are or can be used in a medical context e.g. laser devices for tattoo removal. Software or Apps which support a patients ability to self ‘treat’ their illness or injury, such as those that provide exercise advice after surgery
2.3 | If you have answered YES to question 2.1:
2.3a | please outline which products from the list at paragraph 2.3, and any others, you consider should be brought into scope of the UK medical devices regulations. | All of them. Explicitly include cosmetic breast implants in section b. Why exclude tattooing substances in section d.? | All of them. Explicitly include cosmetic breast implants in section b. Why exclude tattooing substances in section d.?
2.3b | please describe how these products should be assessed to ensure that they are safe and perform as intended. | The ‘clinical evaluation’ processes would have to be modified since there is no clinical benefit. Safety first but a level of clinical evaluation must be demonstrated to include performance and limitations of use. The emphasis would have to be on an evaluation of their documented claims and intended purpose with regards to safety when used on the client. Post-deployment follow up and a requirement for reporting to MHRA would have to be included. | Safety must come first but a level of clinical evaluation must be demonstrated to include performance and limitations of use. The evaluation would be of their documented claims and intended purpose with regards to safety when used on the client. Post-deployment follow up and a requirement for reporting to MHRA would have to be included.
2.3c | please outline how you think these products should be classified (for example, whether they should be classified in line with medical devices that have similar functions and risks). | The same classification rules should apply. | Use the same classification rules
2.4 | Do you think that manufacturers of the products listed at paragraph 2.3 should be required to register them with the MHRA? (see Chapter 4, Section 21 for further information on registration requirements) (Yes / No / Don’t know / No opinion) | Y | Y
2.5 | Please provide any other comments you wish to make about the possible regulation of products without a medical purpose as medical devices and your reasoning (including any available relevant evidence) to support your answers to questions 2.1-2.4. Please include any impacts on, and implementation considerations for, you or other stakeholder groups. | Experience with inspections of cosmetic laser/IPL clinics was that there was/is a low level of understanding of safety and precautions. The strict approach suggested would bring additional regulatory burden on MHRA and additional workload for CQC and equivalent bodies. But unlike medical procedures, there is a disincentive for the providers to frankly discuss risks as well as possible supposed benefits. Therefore, a stricter regulatory regime will help protect clients. | Experience with inspections of cosmetic laser/IPL clinics was that there was/is a low level of understanding of safety and precautions. The strict approach suggested would bring additional regulatory burden on MHRA and additional workload for CQC and equivalent bodies. However, a stricter regulatory regime will help protect clients.
Section 3 – Exclusion of products that contain viable biological 176 substances
3.1 | Do you think that products which contain viable biological substances should be excluded from the scope of the UK medical devices regulations? (Yes / No / Don’t know / No opinion) | Yes | Yes
3.2 | Please provide your reasoning (including any available relevant evidence) to support your answer to question 3.1, including any impacts on you or other stakeholder groups. | Such ‘things’ require regulation. Maggots and leeches are, we believe, regulated as medicines (as per a decision from the EMEA now the EMA in the early 2000’s). Allowing viable biological substances such as these to be regulated as medical devices would cause confusion. They are better regulated as medicine due to their mode of action. | It may be best to regulate some biological substances as medicine due to their mode of action.
Section 4 – Exclusion of food
4.1 | Do you think that food should be excluded from the scope of the UK medical devices regulations? (Yes / No / Don’t know / No opinion) | Y | Y
4.2 | Please provide your reasoning (including any available relevant evidence) to support your answer to question 4.1, including any impacts on you or other stakeholder groups. | The example given is persuasive. | Agree with example provided

## Ch2 Classifications
Questions |  | FINAL | Shared Response
Section 5 – Classification of general medical devices
5.1 | Do you think the classification rules for general medical devices in the UK medical devices regulations should be amended in any or all of the ways set out in paragraphs 5.8-5.10? (Yes / No / Don’t know / No opinion) | Y | Y
5.2 | please specify which of the amendments should be made. | All of them, but see Q5.4 | All of them, but see Q5.4
5.3 | Please outline any other amendments which should be made to theclassification rules (including implementing rules and related definitions). | There will be a need to define : Active device, Transient, Short Term, Long Term, Implantable device, Continuous, Body Orifice, Surgically Invasive device, Invasive device, Reusable surgical instrument, Active therapeutic device, Active device intended for diagnosis or monitoring, Central circulatory system, Central nervous system, Injured skin or mucous membrane | There will be a need to define : Active device, Transient, Short Term, Long Term, Implantable device, Continuous, Body Orifice, Surgically Invasive device, Invasive device, Reusable surgical instrument, Active therapeutic device, Active device intended for diagnosis or monitoring, Central circulatory system, Central nervous system, Injured skin or mucous membrane
5.4 | Please provide your reasoning (including any relevant evidence) to support your answer to questions 5.1-5.2, including any impacts on you or other stakeholder groups. | The current UK classifications are very out of date. Best international practice is probably contained, at present, in the EU MDR:2017 Annex VIII, to which the UK contributed significantly. It would be eminently sensible to align UK classifications with those. The proposals seem to do that. They will need to continue to align with best international practice. The only proposal that is not explicitly clear in the EU MDR Annex VIII it that relating to IVF and ART. More clarity would be required on exactly which devices are considered as included. The IVF/AR process includes the use of various MDs used in their normal manner e.g. syringes, ultrasound scanners. Provided these are being used within their intended purpose, they should not be classified as risk Class III just because they are being used in IVF procedures. Manufacturers have already geared up to take account of the 2017 EU classifications. Significant variation would be costly and detrimental to the supply of devices on the UK market. | The current UK classifications are out of date and best international practice is probably contained, at present, in the EU MDR:2017 Annex VIII. It would be better to align UK classifications with those and the proposals seem to do that.

## CH3 Economic Operators
Questions |  | FINAL | Shared Response
Section 6 - Essential requirements for medical devices
6.1 | Do you think the essential requirements of the UK medical devices regulations should be amended as set out in paragraph 6.4? (Yes / No / Don’t know / No opinion) | Y | Y
6.2 | Please outline any other amendments which should be made to the essential requirements of the UK medical devices regulations. | Should align as far as possible with the EU MDR:2017 as amended | Align as far as possible with the EU MDR:2017
6.3 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 6.1-6.2, including any impacts on you or other stakeholder groups. | As with the classification rules, a substantially different set of essential requirements will lead to increase cost of devices on the UK market. Almost all manufacturers will want to also CE mark their devices so as to make them available on the EEA market and those other places in the world that recognise the CE mark for MDs. UKCA marking will put-up costs which will adversely affect the NHS, but close alignment with the EU MDR:2017 as amended now and into the future, will minimise this additional cost and keep UK in line with best practice. Clarification on the intended purpose would be welcome as this is not always explicit for some devices on the market (for example, recent deaths when using feeding tubes for gastric drainage). | Having a substantially different set of essential requirements will most likely lead to increase cost of devices on the UK market with manufacturers having to meet different requirements. Almost all manufacturers will want to also CE mark their devices so as to make them available on the EEA market and those other places in the world that recognise the CE mark for MDs. UKCA marking could lead to device cost increases which will adversely affect the NHS, but close alignment with the EU MDR:2017 as amended now and into the future, will minimise this additional cost and keep UK in line with best practice.
Section 7 - Manufacturer obligation – measures for recompense
7.1 | Do you think that the UK medical devices regulations should include a requirement for manufacturers to have measures in place (for example, sufficient financial coverage) for recompensing those impacted by adverse incidents with medical devices on the UK market? (Yes / No / Don’t know / No opinion) | Y | Y
7.2 | Please set out the reasoning for your answer to question 7.1, including any expected impacts of the change on you or other stakeholder groups and key implementation considerations. | This is a sensible requirement for consumer/patient protection. Most manufacturers will already have this in place to meet the requirements of the EU MDR. | Sensible requirement for consumer/patient protection. Most manufacturers will already have this in place to meet the requirements of the EU MDR.
Section 8 - Health Institutions
8.1 | Do you think that the UK medical devices regulations should include a definition of the term ‘health institution’ to provide clarification as to which entities the health institution exemption would apply to? (Yes / No / Don’t know / No opinion) | Y | Y
8.2 | If you answered ‘yes’ to question 8.1, please outline what you think should be included in this definition. | The word ‘institution’ should clearly mean a ‘legal entity’ and not a building or a geographical healthcare site. Health institution should include organisations whose primary purpose is the delivery of healthcare to patients, either directly, or indirectly e.g. laboratories testing patient samples. Non-NHS institutions e.g. private hospitals, voluntary organisations or companies delivering posture and mobility services on behalf of the NHS, should be included and the HIE should be applicable provided the institution retains ownership and responsibility for the device supplied to the patient. There should be provision for organisations whose purpose is the education and overall welfare of their clients that includes their health and wellbeing, to apply to MHRA to be classed at health institutions for the purpose of manufacturing in-house devices for their clients, with the above proviso regarding ownership and continuing responsibility. Within the NHS, collaboration between institutions (i.e. legal entities), such as happens with clinical collaboration groups, regional services and the proposed integrated health boards in England should be allowed the health institution exemption, provided one legal entity takes the lead and responsibility. | The word ‘institution’ should clearly mean a ‘legal entity’ and not a building or a geographical healthcare site. Health institutions should include organisations whose primary purpose is the delivery of healthcare to patients, either directly, or indirectly e.g. laboratories testing patient samples. Non-NHS institutions e.g. private hospitals, voluntary organisations or companies delivering posture and mobility service son behalf of the NHS, should be included. Health Institution Exemption should be applicable provided the institution retains ownership and responsibility for the device supplied to the patient. Educational organisations who also provide welfare of their clients that includes their health and wellbeing should be able to apply to the MHRA to be classed at health institutions for the purpose of manufacturing in-house devices for their clients. Within the NHS, collaboration between institutions (i.e. legal entities), such as happens with clinical collaboration groups, regional services and the proposed integrated health boards in England should be allowed the health institution exemption, provided one legal entity takes the lead and responsibility.
8.3 | Do you think that the UK medical devices regulations should require ‘in-house’ manufactured devices to meet the relevant essential requirements of the UK medical devices regulations? ( Yes / No /.Don’t know / No Opinion ) | Y | Y
8.4 | Do you think that ‘in-house’ manufactured devices should be exempt from UKCA marking requirements? (Yes / No / Don’t know / No opinion) | Y | Y
8.5 | Do you think that health institutions should be required to meet the requirements set out in paragraph 8.6 when manufacturing or modifying medical devices ‘in-house’? (Yes / No / Don’t know / No opinion) | Y | Y
8.6 | Please outline any other requirements which should be introduced for heath institutions carrying out ‘in-house’ manufacturing or modification of medical devices. | Re. Q8.3, YES, assuming you are referring to updated ERs in line with the EU MDR GSPR Re. Q8.4, there is a suggestion that for SaMD, where this is to be shared collaboratively between health institutions, CA marking should be mandatory for SaMD above class IIa. Re. 8.6a, a reference to an appropriate QMS frameworks e.g. ISO 13485 should be included as a minimum in guidance, if not put into regulation. Re 8.6b, the ‘justification’, the interpretation of ‘an equivalent medical device available on the market’ needs some further guidance, perhaps by examples. A justified need for a simple physiological measurement device whose function could be obtained by purchasing a very expensive multi-parameter device should be allowed. Cost alone should not be a justification, but benefit vs cost = value should be taken into account. There should be a requirement to carry out and document a ‘clinical evaluation’ (not necessarily a ‘clinical investigation) of the developed device or device family. Health institution should appoint a suitably senior and appropriate ‘qualified person’ responsible for regulatory requirements to ‘sign off’ newly developed devices before they go into service. See Section 14. | Re. 8.6a, There should be a reference to an appropriate QMS frameworks e.g. ISO 13485. There should be included as a minimum in guidance, if not put into regulation. Re 8.6b, the ‘justification’, the interpretation of ‘an equivalent medical device available on the market’ needs some further guidance, perhaps by examples. A justified need for a simple physiological measurement device whose function could be obtained by purchasing a very expensive multi-parameter device should be allowed. Cost alone should not be a justification, but benefit vs cost = value should be taken into account. There should be a requirement to carry out and document a ‘clinical evaluation’ (not necessarily a ‘clinical investigation) of the developed device or device family. Health institution should appoint a suitably senior and appropriate ‘qualified person’ responsible for regulatory requirements to ‘sign off’ newly developed devices before they go into service. See Section 14.
8.7 | Do you think that health institutions should be required to register medical devices manufactured or modified ‘in-house’ with the MHRA? (Yes / No / Don’t know / No opinion) | Y | Y
8.8 | Do you think that health institutions should be required to register clinical investigations / performance studies with the MHRA? (Yes / No / Don’t know / No opinion) | Y | Y
8.9 | Do you think that the provisions in paragraph 8.9 should be introduced for health institutions? (Yes / No / Don’t know / No opinion) | Y | Y
8.10 | Do you think that medical devices manufactured on an ‘industrial scale’ should be excluded from the health institution exemption and required to meet all relevant provisions of the UK medical devices regulations? (Yes / No / Don’t know / No opinion) | Y | Y
8.11 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 8.1-8.10, including any impacts on you or other stakeholder groups. | Q8.3 The MDD based ERs are not ‘state of the art’ or up to date Q8.8 when a clinical investigation is deemed necessary as part of a clinical evaluation. However, the fees for registering a CI are very expensive in relation to the development of a one-off device. There should be recognition of this in the MHRA fee structure. Q8.10 however ‘on an industrial scale’ should be more clearly set out even if only by example in guidance. For example, if an Occupational Therapy Department routinely manufactures custom-made hand splints for patients, using a tried and tested methodology, would you consider this to be ‘on an industrial scale’. We do not; each device is different in detail. Occupational and Speech therapy services can be regional in different parts of the UK and mass production should take account of these type of services. | Q8.3 The MDD based ERs are not ‘state of the art’ or up to date Q8.8 when a clinical investigation is deemed necessary as part of a clinical evaluation. However, the fees for registering a CI are very expensive in relation to the development of a one-off device. There should be recognition of this in the MHRA fee structure. Q8.10 however ‘on an industrial scale’ should be more clearly set out even if only by example in guidance. For example, if an Occupational Therapy Department routinely manufactures custom-made hand splints for patients, using a tried and tested methodology, would you consider this to be ‘on an industrial scale’. We do not; each device is different in detail. Occupational and Speech therapy services can be regional in different parts of the UK and mass production should take account of these type of services.
8.12 | Should the in-house exemption be applicable to health institutions which provide routine or specialist diagnostic services to other health institutions (e.g. the Supra regional assay service) or another body? | Y | Y
8.13 | If you have answered yes to question 8.12, please outline any circumstances in which the exemption should not apply (e.g. if the services are provided for commercial / profitable purposes or to private patients or providers outside its intrinsic health function)? | But should not be limited solely to ‘routine or specialist diagnostic services’. For example a surgeon who works for one Trust but has session also at a neighbouring Trust. They commission a modified surgical instrument to be manufactured and used in their home Trust, then ask for another to be made for use in the other Trust. This should be allowed as ‘in-house’ manufacture. See also the 5th comment against Q8.2 regarding collaboration between different NHS legal entities. Not for commercial/profitable purposes. The surgical instrument example given above would be a different situation if the other hospital was not an NHS but a private hospital. The health institution exemption should be possible to extend beyond strict legal entities provided that stays within the NHS. However, there would need to be documented agreement between institutions that clarifies the extent of liability etc. As in 8.11 in-house exemption should be applicable to specialist services that are created on a regional basis. | In-house exemption should not be limited solely to ‘routine or specialist diagnostic services’ For example clinicians who work for one Trust provides sessions to another Trust may require a modified medical device for use in both and allowance should be made under ‘in-house’ manufacture. This should be facilitated regarding collaboration between different NHS legal entities. See also the 5th comment against Q8.2 regarding collaboration between different NHS legal entities. In-house manufacture as the names implies is not for commercial/profitable purposes. Health institution exemption should be possible to extend beyond strict legal entities provided that such devices stay within the NHS. However, there would need to be documented agreement between institutions that clarifies the extent of liability etc. As in 8.11 in-house exemption should be applicable to specialist services that are created on a regional basis.
8.14 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 8.12-8.13, including any impacts on you or other stakeholder groups. | Collaboration and working together between NHS organisations is to the benefit of the whole UK population. The NHS is not one single legal entity and its mosaic of legal entities changes from time to time. These regulations should not hinder effective collaboration. | Collaboration and working together between NHS organisations is to the benefit of the whole UK population. The NHS is not one single legal entity and its mosaic of legal entities changes from time to time. These regulations should not hinder effective collaboration.
Section 9 - Distance sales
9.1 | Do you think that we should introduce the requirements set out in paragraph 9.5 for medical devices or services sold or provided at a distance through electronic means? (Yes / No / Don’t know / No opinion) | Y | Y
9.2 | Do you think that we should introduce the requirement set out in paragraph 9.6? (Yes / No / Don’t know / No opinion) | Y | Y
9.3 | Please outline any other requirements that should be introduced for medical devices that are subject to distance sales. | Distance sales, especially with software, should be treated the same as other sales A requirement to register with MHRA and have a UK authorised representative. | Distance sales, especially with software, should be treated the same as other sales
9.4 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 9.1-9.3, including any impacts on you or other stakeholder groups. | Q9.1 It will reduce the chance of non-compliant devices causing harm to unsuspecting patients. | Q9.1 It will reduce the chance of non-compliant devices causing harm to unsuspecting patients.
Section 10 – Claims
10.1 | Do you think that we should introduce the provisions set out in paragraph 10.4? (Yes / No / Don’t know / No opinion) | Y | Y
10.2 | Please provide your reasoning (including any available relevant evidence) to support your answer to question 10.1, including any impacts on you or other stakeholder groups. | This is an important consumer/patient protection measure | This is an important consumer/patient protection measure
Section 11 - Quality Management Systems
11.1 | Do you think that we should introduce the detailed requirements for Quality Management Systems outlined in paragraph 11.3? (Yes / No / Don’t know / No opinion) | Y | Y
11.2 | Please outline any other requirements which should be included in the manufacture’s Quality Management System | The nature and extent of the QMS should be allowed to be proportionate to the risk classification and complexity of the devices it covers. A requirement that software should be validated should be included. Recognise new NHS service accreditation standards, such as BS70000, that would meet appropriate QMS for the in-house manufacture of medical devices. Should include the requirement that software has to be validated | The nature and extent of the QMS should be allowed to be proportionate to the risk classification and complexity of the devices it covers. A requirement that software should be validated should be included. Recognise new NHS service accreditation standards, such as BS70000, that would meet appropriate QMS for the in-house manufacture of medical devices. Should include the requirement that software has to be validated
11.3 | Do you think that all manufacturers, including Class I and general IVD manufacturers, should be required to apply an appropriate Quality Management System? (Yes / No / Don’t know / No opinion) | No | No
11.4 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 11.1-11.3, including any impacts on you or other stakeholder groups. | Re 11.1 It would ensure that the manufacturer has a system in place which is designed to not only manufacture safe and effective medical devices consistently, but also systems which are appropriate for ensuring the correct devices are sold, that appropriate traceability is in place, records are kept of verification activities etc. Suggest reference to which QMS is considered appropriate would be beneficial (even if in guidance) and would ensure best practice is implemented e.g. ISO 13485, noting that Para 11.3 appears to encompass ISO 13485 requirements. Consider reference to external audits e.g. where higher risk classifications are manufactured - Class IIa / b - Maxillofacial Laboratory, or SaMD. The explicit inclusion of internal audits is useful, though is a requirement in ISO 13485 at section 8.2.4. Risk Class IIa devices and above placed on the market should require Approved Body input. For in-house manufactured and used devices, the health institution exemption should require external audit, but not necessarily from an AB, Class I to Class IIb devices and AB external audit for Class III devices. Re 11.3 As in 11.2 QMS should be allowed to be proportionate, especially for Class I medical devices where simple modification and accessory use may require Health Institutions (HI) to declare HI exemption. These devices should not require a full certified QMS but have in place a QA process and evidence of meeting safety and performance requirements. ISO 13485 allows many requirement of a QMS to be ‘proportionate’. Therefore there should be no need to explicitly exclude any items outlined in regulations and to include custom-made devices. | Re 11.1 It would ensure that the manufacturer has a system in place which is designed to not only manufacture safe and effective medical devices consistently, but also systems which are appropriate for ensuring the correct devices are sold, that appropriate traceability is in place, records are kept of verification activities etc. Suggest reference to which QMS is considered appropriate would be beneficial (even if in guidance) and would ensure best practice is implemented e.g. ISO 13485, noting that Para 11.3 appears to encompass ISO 13485 requirements. Consider reference to external audits e.g. where higher risk classifications are manufactured - Class IIa / b - Maxillofacial Laboratory, or SaMD. The explicit inclusion of internal audits is useful, though is a requirement in ISO 13485 at section 8.2.4. Risk Class IIa devices and above placed on the market should require Approved Body input. For in-house manufactured and used devices, the health institution exemption should require external audit, but not necessarily from an AB, Class I to Class IIb devices and AB external audit for Class III devices. Re 11.3 As in 11.2 QMS should be allowed to be proporti0nate, especially for Class I medical devices where simple modification and accessory use may require Health Institutions (HI) to declare HI exemption. These devices should not require a full certified QMS but have in place a QA process and evidence of meeting safety and performance requirements. ISO 13485 allows many requirement of a QMS to be ‘proportionate’. Therefore there should be no need to explicitly exclude any items outlined in regulations and to include custom-made devices.
Section 12 - UK Responsible Persons
12.1 | Do you think the UK Responsible Person should be explicitly required in the UK medical devices regulations to have an address in the UK at which they are "physically based¦" (Yes / No / Don’t know / No opinion ) | Yes | Yes
12.2 | Do you think the UK Responsible Person should be legally liable for defective medical devices on the same basis as the manufacturer as outlined in paragraph 12.5? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
12.3 | Do you think the UK Responsible Person should be legally liable for defective medical devices on the same basis as the manufacturer as outlined in paragraph 12.5? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
12.4 | Do you think the UK Responsible Person should be legally liable for defective medical devices on the same basis as the manufacturer as outlined in paragraph 12.5? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
12.5 | What time-period should be specified for the retention of technical documentation relating to implantable devices by the UK Responsible Person? a. 11-15 years after the last product has been manufactured b. 16-20 years after the last product has been manufactured c. for the expected lifetime of the device, after the last product has been manufactured d. Other (please specify) | OTHER: For the expected lifetime of the device, after the last product has been manufactured. (Perhaps "possible lifetime of the device?") The manufacturer needs to keep the documentation for as long as possible, the current blood inquiry is stipulating indefinite record retention and therefore this regulation needs to consider that. Given the high profile cases where patient harm has been demonstrated then retention periods are important as this could have been decades after the event, the documentation can be retained electronically | OTHER: For the expected lifetime of the device, after the last product has been manufactured. (Perhaps "possible lifetime of the device?") The manufacturer needs to keep the documentation for as long as possible, the current blood inquiry is stipulating indefinite record retention and therefore this regulation needs to consider that. Given the high profile cases where patient harm has been demonstrated then retention periods are important as this could have been decades after the event, the documentation can be retained electronically
12.6 | What time-period should be specified for the retention of technical documentation relating to non-implantable devices by the UK Responsible Person? a. 1-5 years after the last product has been manufactured b. 10 years after the last product has been manufactured c. 11-15 years after the last product has been manufactured d. for the expected lifetime of the device, after the last product has been manufactured e. Other (please specify) | b) 10 years | b) 10 years
12.7 | Do you think the UK medical devices regulations should introduce an obligation on UK Responsible Persons to retain documentation in cases where the manufacturer has ceased activity? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
12.8 | Do you think UK Responsible Persons should be required to have at least one Qualified Person that is permanently and continuously at their disposal as set out in paragraph 12.10? (Yes / No / Don’t know / No opinion) | Yes | Yes
12.9 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 12.1-12.8, including any impacts on you or other stakeholder groups. | Q12.1 We have seen a significant number of UK manufacturers with no knowledge or understanding of UK regulatory requirements who have assigned CE marks and signed DoCs without understanding the regulation. There is a demonstrated demand to have someone with appropriate regulatory knowledge advising a manufacturer to avoid putting patients at risk. Physically based in the UK may be difficult for distance sales e.g. app stores, there would need to be consideration on how this would work for those scenarios, but in principle in order to be governed by UK law (not just MDR) they would need to be UK based e.g. Corporate manslaughter under H&S law Q12.5/6 – the manufacturer needs to keep the documentation for as long as possible, the current blood inquiry is stipulating indefinite record retention and therefore this regulation needs to consider that. Given the high profile cases where patient harm has been demonstrated then retention periods are important as this could have been decades after the event, the documentation can be retained electronically Q 12.8 – yes they must have this, given the difference between regulation globally | Q12.1 There is concern that a number of UK manufacturers with no knowledge or understanding of UK regulatory requirements who have assigned CE marks and signed DoCs without understanding the regulation. There is a need to demand to have someone with appropriate regulatory knowledge advising a manufacturer to avoid putting patients at risk. Q12.5/6 – the manufacturer needs to keep the documentation for as long as possible, the current blood inquiry is stipulating indefinite record retention and therefore this regulation needs to consider that. Given the high profile cases where patient harm has been demonstrated then retention periods are important as this could have been decades after the event, the documentation can be retained electronically Q 12.8 – yes they must have this, given the difference between regulation globally
Section 13 - Obligations of importers and distributors
13.1 | Do you think that importers and distributors should be required to meet the requirements outlined in paragraph 13.4? (Yes / No / Don’t know / No opinion' Partial please specify which options) | Partial Only Option D is preferred | Partial Only Option D is preferred
13.2 | Please outline any other requirements which should be introduced for importers and distributors. | General Comment – 13.4 will reduce confusion around the responsibilities that third parties have. In particular the QMS requirements will ensure appropriate systems are deployed for medical device supply. Re Q13.4 This appears to be a requirement above the EU MDR – “inform the MHRA / manufacturer / UKRP (as applicable) of a medical device which does not meet the requirements of the UK medical devices regulations and remove that medical device from the market or refrain from placing that medical device on the market or distributing or supplying the medical device.” The requirement to withdraw should be placed on the manufacturer not the distributor, the distributor could voluntarily do this, what they should be required to do is inform MHRA | General Comment – 13.4 will reduce confusion around the responsibilities that third parties have. In particular the QMS requirements will ensure appropriate systems are deployed for medical device supply. This appears to be a requirement above the EU MDR – “inform the MHRA / manufacturer / UKRP (as applicable) of a medical device which does not meet the requirements of the UK medical devices regulations and remove that medical device from the market or refrain from placing that medical device on the market or distributing or supplying the medical device.” The requirement to withdraw should be placed on the manufacturer not the distributor, the distributor could voluntarily do this, what they should be required to do is inform MHRA
13.3 | Do you think that fulfilment service providers should be regarded as importers under the UK medical devices regulations? (Yes / No / Don’t know / No opinion) | No Opinion | No Opinion
13.4 | Do you think that economic operators should be required to inform the MHRA if they are aware of any issues that will interrupt supply / cause a shortage of medical devices on the UK market, as set out in paragraph 13.6? ( Yes / No / Don’t know / No opinion ) | Y | Y
13.5 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 13.1-13.4, including any impacts on you or other stakeholder groups. | Shouldn’t have to tell MHRA if shortage unless an unregulated supply is required to meet demand | Shouldn’t have to tell MHRA if shortage unless an unregulated supply is required to meet demand
Section 14 - Qualified Persons
14.1 | Do you think manufacturers should be required to have at least one Qualified Person available within their organisation as set out in paragraph 14.3? (Yes / No / Don’t know / No opinion) | Y | Y
14.2 | What qualifications and / or experience should the Qualified Person have in order to be eligible for this role? | Those listed seem reasonable. It needs to be clear that this is not a managerial or administrative role. The Qualified Person needs to have understanding and experience of regulations and manufacturing processes and have sufficient authority within the organisation. In Health Institutions (HIs) the manufacture of medical devices certified to ISO13485 or ISO9001 is managed through clinical engineering departments. There should be a requirement for the HI QPs to have a formal engineering qualification, similar to authorised persons for LV Directive in Estates and MPE in Medical Physics. This role has been identified by IPEM as the Clinical Engineering Expert. In Health Institutions, the role of a Qualified Person should therefore be undertaken by an accredited Clinical Engineering Expert (CEE) details of which are in preparation by IPEM in collaboration with the National School of Healthcare Science (NSHCS) and other stakeholders. | Those listed seem reasonable. It needs to be clear that this is not a managerial or administrative role. The Qualified Person needs to have understanding and experience of regulations and manufacturing processes and have sufficient authority within the organisation. In Health Institutions (HIs) the manufacture of medical devices certified to ISO13485 or ISO9001 is managed through clinical engineering departments. There should be a requirement for the HI QPs to have a formal engineering qualification, similar to authorised persons for LV Directive in Estates and MPE in Medical Physics. This role has been identified by IPEM as the Clinical Engineering Expert. In Health Institutions, the role of a Qualified Person should therefore be undertaken by an accredited Clinical Engineering Expert (CEE) details of which are in preparation by IPEM in collaboration with the National School of Healthcare Science (NSHCS) and other stakeholders.
14.3 | Do you think that small and medium enterprises (SMEs) should be excluded from this requirement and instead be required to have a Qualified Person permanently and continuously at their disposal? (Yes / No / Don’t know / No opinion) | Y | Y
14.4 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 14.1-14.3, including any impacts on you or other stakeholder groups. | Re Q14.1 This should apply to health institutions who are manufacturing devices for in-house use. The role of a Qualified Person should be undertaken within health institutions by an accredited Clinical Engineering Expert (CEE) details of which are in preparation by IPEM in collaboration with National School of Healthcare Science and other stakeholders. The concept of a Qualified Person is a significant addition to regulation in this field. The impact of its introduction into health institutions would raise and ensure standards are adopted. It would also help collaboration and sharing of expertise between departments that do not often interact at present. Re Q14.3 The proposed requirement for SMEs is reasonable but vital. | Re Q14.1 This should apply to health institutions who are manufacturing devices for in-house use. The role of a Qualified Person should be undertaken within health institutions by an accredited Clinical Engineering Expert (CEE) which IPEM are preparing in collaboration with the National School of Healthcare Science and other stakeholders. The concept of a Qualified Person is a significant addition to regulation in this field. The impact of its introduction into health institutions would raise and ensure standards are adopted. It would also help collaboration and sharing of expertise between departments that do not often interact at present. Re Q14.3 The proposed requirement for SMEs is reasonable but also vital.
Section 15 - Cases in which obligations of manufacturers apply to other economic operators
15.1 | Do you think that the circumstances in which an economic operator other than the device manufacturer would be required to assume the responsibilities of the manufacturer should be clarified, as set out in paragraph 15.5? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
15.2 | Do you think that the UK medical devices regulations should be amended to clarify the circumstances in which an economic operator would not be required to take on the responsibilities of a manufacturer, as set out in paragraph 15.6? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
15.3 | Do you think that the UK medical devices regulations should outline the requirements that economic operators would need to meet in circumstances where they have made a modification, without taking on the obligations of the manufacturer, as set out in paragraph 15.7? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
15.4 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 15.1-15.3, including any impacts on you or other stakeholder groups. | Re. Q15.1 and 2 – clarity will be useful. However re. Q15.3, the economic operator has NOT taken on the obligations of the manufacturer i.e. have not modified the device in a way that significantly changes its safety or intended use, therefore 15.7d. is inappropriately burdensome. If 15.7b. is required, MHRA and/or the manufacturer will have the opportunity to challenge the economic operator if they feel necessary. | Re. Q15.1 and 2 – clarity will be useful. However re. Q15.3, the economic operator has NOT taken on the obligations of the manufacturer i.e. have not modified the device in a way that significantly changes its safety or intended use could mean that the proposed 15.7d requirement is inappropriately burdensome. If 15.7b. is required, MHRA and/or the manufacturer will have the opportunity to challenge the economic operator if they feel necessary.

## CH4 Registration and UDI
Questions |  | FINAL | Shared Response
Section 17 – Identification within the supply chain
17.1 | Do you think the UK medical devices regulations should include the requirements set out in paragraph 17.1 for economic operators to ensure traceability. (Yes / No / Don’t know / No opinion) | Y | Y
17.2 | Please outline any other traceability requirements which should be introduced for economic operators. | To the point of supply to a health institute (or for example a central stores department) | To the point of supply to a health institute (or for example a central stores department)
17.3 | If we were to introduce a requirement for economic operators to be able to track the supply of medical devices, and to keep the records pertaining to that for a specific time period (as set out underparagraphs 17.3 and 17.4 above), what time period should be specified? | At least one year for single use devices. Longer, perhaps 10 years, for reusable devices such as infusion pumps and surgical instruments, etc. | At least one year for single use devices. Longer, perhaps 10 years, for reusable devices such as infusion pumps and surgical instruments, etc.
17.4 | Please provide your reasoning (including any available relevant 23 evidence) to support your answers to questions 17.1-17.3, 24 including any impacts on you or other stakeholder groups. | The argument made in 17.1 is pertinent. Clinical Engineering departments routinely keep records of devices under their responsibility for the lifetime of the device and for a defined number of years (e.g. 11 years) after scrapping. | Clinical Engineering departments routinely keep records of devices under their responsibility for the lifetime of the device and for a defined number of years (e.g. 11 years) after scrapping.
Section 18 – Nomenclature
18.1 | Please select which nomenclature, for purposes of medical device identification, should be required under the UK medical devices regulations: (GMDN / EMDN / Other (please specify) | EMDN | EMDN
18.2 | Please provide your reasoning | The EEA is our nearest large market. Many medical devices are either manufactured in the EEA or are CE marked for sale in the EEA. Significant variations from EU MDR requirements will increase costs of devices to be sold in the UK market. Aligning with the EMDM will reduce burden on manufacturers. EMDN is proposed based on the majority of medical devices being supplied to the UK are sourced from manufacturers who already CE mark their devices. However, it is recognised that the UK's GMDN was developed before EMDN and that GMDN was also based on the American UMDNS. There is concern over the diverging nomenclature that manufacturers need to use within different jurisdictions and for HIs to adopt when registering medical devices within their asset databases. | The EEA is our nearest large market. Many medical devices are either manufactured in the EEA or are CE marked for sale in the EEA. Significant variations from EU MDR requirements will increase costs of devices to be sold in the UK market. Aligning with the EMDM will reduce burden on manufacturers. EMDN is proposed based on the majority of medical devices being supplied to the UK are sourced from manufacturers who already CE mark their devices. However, it is recognised that the UK's GMDN was developed before EMDN and that GMDN was also based on the American UMDNS. There is concern over the diverging nomenclature that manufacturers need to use within different jurisdictions and for HIs to adopt when registering medical devices within their asset databases.
Section 19 Unique Device Identification
19.1 | Do you think that the UK medical devices regulations should include a include a definition of the term ‘Unique Device Identifier’ (Yes / No / Don’t know / No opinion) | Yes | Yes
19.2 | If you answered Yes to question 19.1, please outline what you think should be included in this definition. | A UDI-DI and a UDI-PI | A UDI-DI and a UDI-PI
19.3 | Do you think the UK medical devices regulations should require manufacturers to assign UDIs to medical devices before they are placed on the market? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.4 | If you answered Yes to question 19.3, please outline any particular requirements which should be introduced in regards to how UDIs should be applied to medical devices and any aspects which require clarification. | UDI–DI needs some specific thought with regards to software, given the agile approach to developing software releases could and should happen frequently to ensure they stay state of the art and reduce risks to patients. UDI-DI would need to take into account versioning numbering (and subsequent regulatory requirements associated with releases). The suppliers and health institutions would welcome clarity on how this would work | UDI–DI needs some specific thought with regards to software, given how frequent software releases occur. UDI-DI would need to take into account versioning numbering (and subsequent regulatory requirements associated with releases). The suppliers and health institutions would welcome clarity on how this would work.
19.5 | Should devices that are reusable bear a UDI carrier (e.g. barcode) that is permanent and readable after each process on the device itself? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.6 | Please outline whether you think there should be any exceptions to this rule and please provide examples and reasoning. | Reusable instruments should not be an exception. Their inclusion will improve the provenance of reusable instruments. It is a significant problem at present because many reusable devices (especially surgical instruments) have no unique identification and therefore it is not possible to trace them to a supplier when questions arise over safety or incidents that occur. | Reusable instruments should not be an exception. Their inclusion will improve the provenance of reusable instruments. It is a significant problem at present because many reusable devices (especially surgical instruments) have no unique identification and therefore it is not possible to trace them to a supplier when questions arise over safety or incidents that occur.
19.7 | Should the UK medical devices regulations include requirements for Basic UDI-DI to identify medical device models? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.8 | Do you think manufacturers should be required to assign and apply UDIs to their medical devices before applying to Approved Bodies for conformity assessment? (Yes / No / Don’t know / No opinion) | No | No
19.9 | Do you think the UK medical devices regulations should stipulate that the UDI or Basic UDI-DI of a medical device should be provided in the circumstances set out in paragraph 19.12? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.10 | Please outline any other circumstances in which the UDI or Basic UDI-DI should be provided for a medical device. | Q19.8 – not before because if you don’t get through the Approved Body process then you cannot make available on the market Q19.9 – there is a chicken and egg issue here; how can all your documentation include a UDI (which you are allocated) until it has passed all the regulatory requirements? Once the manufacturer has met all the requirements, then they can register the device and then a UDI can be provided – for a first registration. For subsequent releases then the UDI would still apply, but the UDI-DI could be updated within the required documentation | Q19.8 – Only after conformity assessment as with the Approved Body process Q19.9 – Question how can all the documentation include a UDI until it has passed all the regulatory requirements and allocated one? Once the manufacturer has met all the requirements, then they can register the device and then a UDI can be provided – for a first registration. For subsequent releases then the UDI would still apply, but the UDI-DI could be updated within the required documentation
19.11 | Do you think that certain medical devices should be exempt from the UDI requirements? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.12 | If you have answered Yes to 19.11, please outline what medical devices should be exempt. | Custom-made and investigational devices. For investigational devices, development must be under a QMS and within that, identification of devices will/must be achieved during the clinical investigation process, but does not need to be within the formal UDI system. For custom-made devices the manufacturer should be required to keep a register of patient to whom the device has been supplied | Custom-made and investigational devices. For investigational devices, development must be under a QMS and within that, identification of devices will/must be achieved during the clinical investigation process, but does not need to be within the formal UDI system. For custom-made devices the manufacturer should be required to keep a register of patient to whom the device has been supplied
19.13 | Should manufacturers of custom-made devices be required to assign a unique serial number to the device? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.19 | Do you think healthcare professionals and/or health institutions should be required to store the UDIs of certain medical devices? (Yes / No / Don’t know / No opinion) | Yes | Yes
19.20 | If you have answered ‘yes’ to question 19.19, please outline what types / risk classification of medical devices should fall under this requirement. | a. All implantable medical devices | a. All implantable medical devices
Section 20 – Great Britain database on medical devices
20.1 | Do you think that we should introduce the proposal outlined in paragraph 20.1? (Yes / No / Don’t know / No opinion) | Yes | Yes
20.2 | Please provide your reasoning (including any available relevant evidence) to support your answer to question 20.1, including any impacts on or implementation considerations for you or other stakeholder groups. | This should be UK wide and not devolved to each of the four nations. | This should be UK wide and not devolved to each of the four nations.
Section 21 – Registration of medical devices pre-market approval Expansion of data required at point of medical device registration
21.1 | Do you think manufacturers should be required to provide the information in List One (at end of this Section) to the MHRA upon medical device registration? (Yes / No / Don’t know / No opinion / Some please specify which) | Yes | Yes
21.2 | Please specify any changes proposed and your rationale in relation to question 21.1. | Q21.1 – list should include the promoted name of the device especially for software. This name should not be changed unless under change control and MHRA informed. | Q21.1 – list should include the promoted name of the device especially for software. This name should not be changed unless under change control and MHRA informed.
21.8 | Do you think the UK medical devices regulations should include a requirement for manufacturers to register with the MHRA before applying to an Approved Body for conformity assessment and for the Approved Body to verify this registration? (Yes / No / Don’t know / No opinion) | Yes | Yes

## CH6 Conformity Assessment
Questions |  | FINAL | Shared Response
Section 26 Conformity Assessment
26.1 | Do you think the conformity assessment requirements for medical devices should be clarified and strengthened for medical devices as set out in paragraph 26.6 above? (Yes / No / Don’t know / No opinion) | Y | Y
26.2 | Please outline any other clarifications or additions to requirements that you think should be introduced to strengthen the conformity assessment of medical devices under the UK medical device regulations. Please include your rationale and any expected impacts on you/other stakeholder groups (including any implementation considerations such as guidance that may be required). | Design of reusable instruments and reprocessing is poorly controlled. Introducing 3rd party inspection would reduce problems which SSDs experience with inappropriately validated reprocessing instructions. | Design of reusable instruments and reprocessing is poorly controlled. Introducing 3rd party inspection would reduce problems which SSDs experience with inappropriately validated reprocessing instructions.
26.3 | The current timeframe for which manufacturers must retain technical documentation is 15 years for implantable devices, and 5 years for all other medical devices. We are considering whether this is sufficient. An option is for this to be 15 years for implantable devices and 10 years for other medical devices. For how long should the manufacturer be required to keep technical documentation for a medical device they have manufactured? a. 1-5 years after the last product has been manufactured b. 6-10 years after the last product has been manufactured c. 11-15 years after the last product has been manufactured d. For the expected lifetime of the device, after the last product has been manufactured e. Other (please specify) | Other As suggested above; d. for the expected lifetime of the device, after the last product has been manufactured. (Perhaps "possible lifetime of the device?") | Other As suggested above; d. for the expected lifetime of the device, after the last product has been manufactured. (Perhaps "possible lifetime of the device?")
Section 27 – Mechanisms for transparency
27.1 | Do you think Approved Bodies should be required to notify the MHRA of certificates they have granted for general medical devices with the accompanying documentation set out in paragraph 27.2? (Yes / No / Don’t know / No opinion) | Yes | Yes
27.2 | Do you think the MHRA should apply additional scrutiny to the conformity assessment report for certain classes/types of medical devices? (Yes / No / Don’t know / No opinion) | Yes | Yes
27.3 | If you have answered ‘yes’ to question 27.2 please outline which types/classes of medical devices this additional scrutiny should apply to. | Implantable devices AI / Machine Learning should have more scrutiny, however the skills and ability to undertake this are limited. | Implantable devices AI / Machine Learning should have more scrutiny, however the skills and ability to undertake this are limited.
27.4 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 27.1-27.3, including any impacts on you or other stakeholder groups. | Polypropylene mesh comes to mind, as well as earlier implantable devices issues. The argument about AI/Machine Learning is developed more fully in Chapter 10: Software, and in particular in Q. 65.6. | Polypropylene mesh comes to mind, as well as earlier implantable devices issues.
Section 28 – Certificates of conformity
28.1 | Do you think the UK medical devices regulations should detail the 5minimum content of Certificates of Conformity? (Yes / No / Don’t know / No opinion) | Yes | Yes
28.2 | If you have answered ‘yes’ to question 28.1, please outline what should be included as part of the content of a Certificate of Conformity (you may reference bullet points a-l above). | All of them, including those ‘if applicable’. | All of them, including those ‘if applicable’.
Section 30 – Declaration of Conformity
30.1 | Do you think that the UK medical devices regulations should set out the minimum content requirements for the Declaration of Conformity? (Yes / No / Don’t know / No opinion) | Yes | Yes
30.2 | If you have answered ‘yes’ to question 30.1, please outline what the requirements for the Declaration of Conformity should be (you may refer to bullet points a-i in paragraph 30.3). | All of them | All of them
30.3 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 30.1-30.2, including any impacts on you or other stakeholder groups. | By requiring manufacturers to explicitly state in detail in the DoC what they are legally declaring (such as full compliance with the ERs of the MDD) it may help focus their mind on their responsibilities rather than thinking this is just a box ticking exercise. | Requiring manufacturers to explicitly state in detail in the DoC what they are legally declaring (such as full compliance with the ERs of the MDD) would be a reminder of their responsibilities rather than considering it as a box ticking exercise.

## Ch7 Clinical Investigation-Perf
Questions |  | FINAL | Shared Response
Section 46 - Types of Clinical investigations / performance studies and exemptions authorisations
46.1 | Do you think the UK medical devices regulations should allow for exemptions from some of the requirements of the Regulations for certain types of clinical investigations and performance studies as outlined in paragraph 46.4? ( ‘Yes’ / ‘No’ / ‘Don’t know/No opinion’) | Y | Y
46.2 | If you have answered 'yes' to question types of clinical investigations and performance studies you think should be exempted. | Consider when the research is still at the stage of ‘Basic Science involving human participants’ and not at a Product Evaluation stage. Participants in a study may have the disease/disability that the putative product is designed to benefit. It could be argued that devices made for such proof of concept or feasibility studies are not intended to be ‘medical devices’ as defined under the regulations for use within the study, and therefore the regulations do not apply. However, when investigations involving volunteers are needed to take an idea forward, ethical approval is required and this regulatory distinction is not necessarily understood. Additionally, basic safety is essential. Therefore, a mechanism to include within the regulations a ‘light touch’ registration of such investigational studies would be sensible. The inclusion of the words … "without any input from industry, and there is no intention to place the device on the market "… is problematic. Academic and healthcare institutions do work with industry at very early stages of the development of ideas, but at this proof of concept stage there is no intention to place the device as first made on the market. The first iteration or even the fundamental idea may be flawed. If not, and development continues, formal clinical investigation will be required at a later stage. This situation is particularly relevant when the ideas and prototype devices are intended to be used by people with particular disabilities, since the basic concepts cannot be proved effective without trying them out on individuals with the target disability. An alternative approach would be to recognise that devices at this stage are not ‘medical devices’ and therefore outside the regulations, but for MHRA to address proof of concept investigations in Guidance. | It could be argued that devices made for such proof of concept or feasibility studies are not intended to be ‘medical devices’ as defined under the regulations for use within the study, and therefore the regulations do not apply. However, when investigations involving volunteers are needed to take an idea forward, ethical approval is required and this regulatory distinction is not necessarily understood. Additionally, basic safety is essential. Therefore, a mechanism to include within the regulations a ‘light touch’ registration of such investigational studies would be sensible. This situation is particularly relevant when the ideas and prototype devices are intended to be used by people with particular disabilities, since the basic concepts cannot be proved effective without trying them out on individuals with the target disability. An alternative approach would be to recognise that devices at this stage are not ‘medical devices’ and therefore outside the regulations, but for MHRA to address proof of concept investigations in Guidance.
46.3 | Do you think that healthcare institutions should be required to notify certain types of clinical investigation / performance studies to the MHRA for authorisation before proceeding? ( ‘Yes’ / ‘No’ / ‘Don’t know/No opinion’) | Y | Y
46.4 | If you have answered 'yes' question 46.3 please outline what types of clinical investigations / performance studies should meet the requirements of the UK medical devices regulations. | The comments made above in answer to Q46.2 apply equally to developments undertaken in health institutions. These are often jointly with academic institutions. When a clinical investigation (as defined) of a higher risk (class IIb or III) device is deemed necessary, that is development has gone beyond the ‘basic science involving human participants’ stage, these should be notified to MHRA. However, given that in-house manufactured devices will be limited, and will not be placed on the market, and will not be ‘income earning’, then the fee structure should recognise this. If not, many such developments will be unviable. MHRA should have a ‘light touch’ system for reporting of studies involving lower risk devices. They would however have to go through IRAS. If not, many such developments will be unviable and not proceed. Patients will not receive the benefits that may compromise the quality of their care. | The comments made above in answer to Q46.2 apply equally to developments undertaken in health institutions. These are often jointly with academic institutions. When a clinical investigation (as defined) of a higher risk (class IIb or III) device is deemed necessary, that is development has gone beyond the ‘basic science involving human participants’ stage, these should be notified to MHRA. However, given that in-house manufactured devices will be limited, and will not be placed on the market, and will not be ‘income earning’, then the fee structure should recognise this. If not, many such developments will be unviable. MHRA should have a ‘light touch’ system for reporting of studies involving lower risk devices. They would however have to go through IRAS. If not, many such developments will be unviable and not proceed. Patients will not receive the benefits that may compromise the quality of their care.
46.5 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 46.1-46.4, including any impacts on you or other stakeholder groups.
Section 47 - Summary of safety and clinical performance
47.1 | Do you think the UK medical devices regulations should introduce the requirement for an SSCP for medical devices? (‘Yes’ / ‘No’ / ‘Don’t know/No opinion’) | Y | Y
47.2 | If you have answered 'yes' question 47.1, please outline what classes/types of medical devices should require an SSCP. | All classes and all SaMD | All classes and all SaMD
47.3 | Do you think the UK medical devices regulations should set out the minimum content of the SSCP included in paragraph 47.5? (‘Yes’ / ‘No’ / ‘Don’t know/No opinion’) | Y | Y
47.4 | Please outline any other content which should be included in the SSCP for a medical device. | No further suggestions | No further suggestions
47.5 | Please select one of the following:
a. the manufacturer should upload the full SSCP to the MHRA registration system
b. the manufacturer should upload a link to the SSCP to the registration system
c. the manufacturer should not be required to upload the SSCP to the registration system
| d. Other – please specify | Options a & b. This should be available on the Public Access Medical Devices Data Base. | Options a & b. This should be available on the Public Access Medical Devices Data Base.
47.6 | Do you think an Approved Body should validate the SSCP for a medical device? (‘Yes’ / ‘No’ / ‘Don’t know/No opinion’) | Y | Y
| If you have answered 'yes' question this procedure should be carried out. | As part of the Approved Body scrutiny of the manufacturer’s documentation | As part of the Approved Body scrutiny of the manufacturer’s documentation
47.8 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 47.1-47.7, including any impacts on you or other stakeholder groups. | It is not clear whether this whole section is intended to apply to in-house manufactured and used devices not placed on the market. We propose it should not. Clarity needed. | It is not clear whether this whole section is intended to apply to in-house manufactured and used devices not placed on the market. We propose it should not. Clarity needed.

## Ch10 Software as an MD
Questions |  | FINAL | Shared Response
Section 58. Scope and definitions
58.1 | Do you think that we should introduce the definition of software set out above? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
58.2 | Do you think there are any other definitions that need to be added to, or changed in, the UK medical devices regulations to further clarify what requirements apply to placing SaMD on the UK market? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
58.3 | If you have answered ‘yes’ to question 58.2, please outline what additions / modifications are required. | The word 'processes' is insufficient for today's world. The definition of software needs to encompass how AI software works e.g. for neural networks that learn from input data and produce output data, the network does not only ‘process’ data. AIaMD Artificial Intelligence as a Medical Device should be defined. Clear guidance needs to be provided on how to distinguish what is medical device software and what isn't e.g. a website that is providing health information (which may be acted on by a user), from that which is providing clinical information on which decisions are made. The definition of medical device does not include prognosis, prediction as outlined in the EU MDR 2017. These domains are prevalent in SaMD. The definition should be expanded to specifically state ‘… using a computer based language…’ as the current definition could also include human action as well. It is easy to inadvertently dismiss some software as not meeting your proposed definition: “My spreadsheet doesn’t have any instructions”. Clarity of the definition should be increased by providing examples. It would be useful to make a distinction between: 1) stand alone software that meets the definition of a medical device but runs on a non-medical device platform such as a smart phone, a tablet or a desktop PC; software as a medical device — SaMD 2) software that is executed within a physical medical device such as an infusion pump or a defibrillator; software in a medical device, — SiMD which is effectively an accessory for a medical device or a component part of a medical device. In the latter case, clinical investigation and post market clinical follow up can and must be carried out on the whole device so as to investigate the proper interaction between the physical elements and the software elements of the device. 3) an additional qualifier is needed to differentiate software from a list of instructions for a human to follow, e.g. “a set of instructions [for computer hardware] that processes input data and creates output data” We suggest: “Software is a collection of stored instructions and data that tell a computer how to work.” | Not convinced that using just the word 'processes' is sufficient for today's world. The definition of software needs to encompass how AI software works e.g. for neural networks that learn from input data and produce output data, the network does not only ‘process’ data. AIaMD Artificial Intelligence as a Medical Device should be defined. Clear guidance needs to be provided on how to distinguish what is medical device software and what isn't e.g. a website that is providing health information (which may be acted on by a user), from that which is providing clinical information on which decisions are made. The definition of medical device does not include prognosis, prediction as outlined in the EU MDR 2017. These domains are prevalent in SaMD. The definition should be expanded to specifically state ‘… using a computer based language…’ as the current definition could also include human action as well. It is easy to inadvertently dismiss some software as not meeting your proposed definition: “My spreadsheet doesn’t have any instructions”. Clarity of the definition should be increased by providing examples. It would be useful to make a distinction between: 1) stand alone software that meets the definition of a medical device but runs on a non-medical device platform such as a smart phone, a tablet or a desktop PC; software as a medical device — SaMD 2) software that is executed within a physical medical device such as an infusion pump or a defibrillator; software in a medical device, — SiMD which is effectively an accessory for a medical device or a component part of a medical device. In the latter case, clinical investigation and post market clinical follow up can and must be carried out on the whole device so as to investigate the proper interaction between the physical elements and the software elements of the device. 3) an additional qualifier is needed to differentiate software from a list of instructions for a human to follow, e.g. “a set of instructions [for computer hardware] that processes input data and creates output data” We suggest: “Software is a collection of stored instructions and data that tell a computer how to work.”
58.4 | Please provide your reasoning to support your answers to questions 58.1-58.3, including any impacts on you or other stakeholder groups and any available relevant evidence.. | There is merit in keeping the definitions in line with but not necessarily identical to the MEDDEV guidance. Definitions of medical software needs to be clear and unambiguous for organisations developing software and to align with current best practice e.g. IEC 62304:2006/AMD 1:2015, MDCG 2019-11 and FDA. The proposed definition of software as "a set of instructions that processes input data and creates output data" would also be applicable to a written list of instructions for a human to follow (i.e. a work instruction) this would not be software. Using the proposed definition could greatly increase the scope of the regulations, and number of stakeholders. A broad definition is desirable however to capture those producing spreadsheets, functional documents etc. or other "low code" solutions. | There is merit in keeping the definitions in line with but not necessarily identical to the MEDDEV guidance. Definitions of medical software needs to be clear and unambiguous for organisations developing software and to align with current best practice e.g. IEC 62304:2006/AMD 1:2015, MDCG 2019-11 and FDA. The proposed definition of software as "a set of instructions that processes input data and creates output data" would also be applicable to a written list of instructions for a human to follow (i.e. a work instruction) this would not be software. Using the proposed definition could greatly increase the scope of the regulations, and number of stakeholders. A broad definition is desirable however to capture those producing spreadsheets, functional documents etc. or other "low code" solutions.
Section 59. Distance sales
59.1 | SaMD can be deployed in the UK by websites hosted in other jurisdictions. Is there any need for greater / clearer requirements in such deployment? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
59.2 | Do you think that the definition of placing on the market should be revised as set out above? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
59.3 | Please provide your reasoning to support your answers to questions 59.1-59.2, including any impacts on you or other stakeholder groups and any available relevant evidence. | This will be difficult to police but without it there will be no possibility of regulating such SaMD, nor of countering claims for apps that do not have a legit medical purpose. This would clarify when a device is placed on the market. Please ensure there is clarity between ‘placing on the market’ and ‘putting in to service’. It should be made clear to manufacturers and distributors that if SaMD is made available for use in the UK, it must meet the local regulatory requirements. This is important so that patients, clinicians and those procuring SaMD can have confidence the product is safe and effective | This will be difficult to police but without it there will be no possibility of regulating such SaMD, nor of countering claims for apps that do not have a legit medical purpose. This would clarify when a device is placed on the market. Please ensure there is clarity between ‘placing on the market’ and ‘putting in to service’. It should be made clear to manufacturers and distributors that if SaMD is made available for use in the UK, it must meet the local regulatory requirements. This is important so that patients, clinicians and those procuring SaMD can have confidence the product is safe and effective
Section 60. Classification: Risk categorisation
60.1 | Do you think we should amend the classification rules in UK medical devices regulations to include the IMDRF SaMD classification rule (with supporting definitions and implementing rules) as set out in paragraph 60.2? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
60.2 | Please set out your rationale and any impact you expect this change would have. | The classification numbering needs to be consistent throughout for general medical devices to ensure read across and consistency with other medical devices to support the information for patients, review by Approved Bodies and the general requirements of the regulations for manufacturers. The classification rules need to be updated to better take account of software and therefore additional defined terms will need to be introduced. If the definitions are clear this will help with classifying devices. However, the harmonised standard which is used for software development for medical devices is IEC 62304:2006/AMD 1:2015. This standard defines three software safety classifications A, B, C where C is the highest classification. Not sure whether using the 4 categories defined by the IMDRF ("Software as a Medical Device": Possible Framework for Risk Categorization and Corresponding Considerations) will introduce further complexity? The FDA in their document "Guidance for the Content of Premarket Submissions for Software Contained in Medical Devices" also define three levels - Major, Moderate or Minor which aligns somewhat to the classes in IEC 62304. The IMDRF rules are a more appropriate risk stratification system for software. Adopting an international standard should improve market access. The decision boundaries were not available within the consultation document for comment, and will be critical to the adoption of the rules. MDCG 2019-11 outlines the EU interpretation, this has the lowest category for SaMD as IIa rather than I, which is consistent with EU MDR Classification Rule 11. This has been criticised as being too restrictive and anti-innovation. | The classification numbering needs to be consistent throughout for general medical devices to ensure read across and consistency with other medical devices to support the information for patients, review by Approved Bodies and the general requirements of the regulations for manufacturers. The classification rules need to be updated to better take account of software and therefore additional defined terms will need to be introduced. If the definitions are clear this will help with classifying devices. However, the harmonised standard which is used for software development for medical devices is IEC 62304:2006/AMD 1:2015. This standard defines three software safety classifications A, B, C where C is the highest classification. Not sure whether using the 4 categories defined by the IMDRF ("Software as a Medical Device": Possible Framework for Risk Categorization and Corresponding Considerations) will introduce further complexity? The FDA in their document "Guidance for the Content of Premarket Submissions for Software Contained in Medical Devices" also define three levels - Major, Moderate or Minor which aligns somewhat to the classes in IEC 62304. The IMDRF rules are a more appropriate risk stratification system for software. Adopting an international standard should improve market access. The decision boundaries were not available within the consultation document for comment, and will be critical to the adoption of the rules. MDCG 2019-11 outlines the EU interpretation, this has the lowest category for SaMD as IIa rather than I, which is consistent with EU MDR Classification Rule 11. This has been criticised as being too restrictive and anti-innovation.
Section 61. Classification: Airlock classification rule
61.1 | Do you think we should introduce an ‘airlock classification rule’ for SaMD with a risk profile that is not well understood? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Don't Know | Don't Know
61.2 | Please provide your reasoning to support your answer to question 61.1 and, including any expected impacts on you or other stakeholder groups and any available relevant evidence. | In general there was no consensus view on the air lock rule, or how a risk profile would not be well understood. The reasons given are sound and the suggestion would be useful to apply to all medical devices, especially those using novel technology. This would facilitate early access to market whilst maintaining a level of patient safety. There will be extra burden on SaMD manufacturers as Class II devices would now be Class III, temporarily. The impact would be more significant for Class I software, if these exist. Other opinions as follows: Support the development of a specific requirement for new and novel software but this could be treated in the same way that clinical investigation would traditionally be applied and should be considered Proof of Concept work with the same caveats such as ethical approval, limited scope etc applied to it.” The issue I see with this is that it does not fulfil the objective which is to … allow early access to market for novel and innovative SaMD whilst ensuring the safety of users and patients until the risks of the device are properly understood. I assume they have in mind that the software would already have been through a clinical investigation etc. but risks are still unclear and real world data is needed. If novel SaMD is classified as the highest risk category, then by default this will require the development path/regulatory submissions to require the full suite of documentation as per this category even though the eventual risk class of the software might be at the lowest category. Software development times are typically less than say the pharmaceutical industry where drug development times run into years, consequently the introduction of this additional rule is not warranted. If a SaMD has been designed to IEC62304 class A or B then the design verification and product validation will most likely not have been applied for a device with an unknown risk profile. The question is do we force manufacturers to design and manufacture these SaMD to Class C when it is possible the device could be a Class III Medical Device? Without further provisions the air lock rule may not protect the patient, rather an airlock has the potential to expose them to greater risk while benefiting the manufacturer | In general there was no consensus view on the air lock rule, or how a risk profile would not be well understood. The reasons given are sound and the suggestion would be useful to apply to all medical devices, especially those using novel technology. This would facilitate early access to market whilst maintaining a level of patient safety. There will be extra burden on SaMD manufacturers as Class II devices would now be Class III, temporarily. The impact would be more significant for Class I software, if these exist. Other opinions as follows: Support the development of a specific requirement for new and novel software but this could be treated in the same way that clinical investigation would traditionally be applied and should be considered Proof of Concept work with the same caveats such as ethical approval, limited scope etc applied to it.” The issue I see with this is that it does not fulfil the objective which is to … allow early access to market for novel and innovative SaMD whilst ensuring the safety of users and patients until the risks of the device are properly understood. I assume they have in mind that the software would already have been through a clinical investigation etc. but risks are still unclear and real world data is needed. If novel SaMD is classified as the highest risk category, then by default this will require the development path/regulatory submissions to require the full suite of documentation as per this category even though the eventual risk class of the software might be at the lowest category. Software development times are typically less than say the pharmaceutical industry where drug development times run into years, consequently the introduction of this additional rule is not warranted. If a SaMD has been designed to IEC62304 class A or B then the design verification and product validation will most likely not have been applied for a device with an unknown risk profile. The question is do we force manufacturers to design and manufacture these SaMD to Class C when it is possible the device could be a Class III Medical Device? Without further provisions the air lock rule may not protect the patient, rather an airlock has the potential to expose them to greater risk while benefiting the manufacturer
Section 62. Pre-market requirements
62.1 | Do you consider additional essential requirements should be in place to assure the safety and performance of SaMD specifically? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
62.2 | Please set out, and explain your rationale for, any additions and outline any expected impacts. | There should be additional essential requirements relating to information governance, data protection, information (cyber) security, usability and interoperability. These should require the adoption of state-of-the art methods for design and development. See specifically EU MDR GSPR 14, 14.6, 17.1, 17.2, 23.4 f, ab Additionally there would be merit in keeping the Essential Requirements in the UK regulations closely aligned with the EU MDR ones. Possibly, placing emphasis on cyber security for networkable/IoT devices should be considered? The current essential requirements seem more specific to medical devices, or medical devices with embedded software rather than medical device software that is stand alone. Using the EU MDR 2017 Annex I as an exemplar, there are a reasonable specific requirements regarding software. | There should be additional essential requirements relating to information governance, data protection, information (cyber) security, usability and interoperability. These should require the adoption of state-of-the art methods for design and development. See specifically EU MDR GSPR 14, 14.6, 17.1, 17.2, 23.4 f, ab Additionally there would be merit in keeping the Essential Requirements in the UK regulations closely aligned with the EU MDR ones. Possibly, placing emphasis on cyber security for networkable/IoT devices should be considered? The current essential requirements seem more specific to medical devices, or medical devices with embedded software rather than medical device software that is stand alone. Using the EU MDR 2017 Annex I as an exemplar, there are a reasonable specific requirements regarding software.
62.3 | Do you consider regulations should set out SaMD essential requirements separate from those for other general medical device types? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
62.4 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 62.1-62.2, including any impacts on you or other stakeholder groups. | The UK MDR should incorporate the GSPR from the EU MDR with regards to SaMD. As noted above, medical device software can be SaMD or SiMD. In the latter case particularly, it would not be helpful to have two sets of essential requirements that might interact. In the case of SaMD, all the general requirements and requirements regarding design, labelling etc. need to be considered. Provided that within the essential requirements there is enough scope to apply to stand-alone medical software, the essential requirements can (easily) be applied to software. The issues of unregulated SaMD comes from lack of awareness and appreciation that SaMD manufacture is a regulated activity. SaMD can be created by a sole developer with minimal training and experience due to the availability of data and teaching materials online and the ease of which they can deploy a device to an ‘app store’. App stores are not undertaking their duties as importers and distributors of medical devices. | The UK MDR should incorporate the GSPR from the EU MDR with regards to SaMD. As noted above, medical device software can be SaMD or SiMD. In the latter case particularly, it would not be helpful to have two sets of essential requirements that might interact. In the case of SaMD, all the general requirements and requirements regarding design, labelling etc. need to be considered. Provided that within the essential requirements there is enough scope to apply to stand-alone medical software, the essential requirements can (easily) be applied to software. The issues of unregulated SaMD comes from lack of awareness and appreciation that SaMD manufacture is a regulated activity. SaMD can be created by a sole developer with minimal training and experience due to the availability of data and teaching materials online and the ease of which they can deploy a device to an ‘app store’. App stores are not undertaking their duties as importers and distributors of medical devices.
Section 63 - Post-market requirements
63.1 | Do you think the UK medical devices regulations should mandate a ‘report adverse incident’ link as set out above? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Don't Know | Don't Know
63.2 | Please set out, and explain your rationale for, any additions and outline any expected impacts. | Adding a hyperlink to the MHRA digital yellow card scheme seems to be a simple, moderate and cheap means to improve adverse incident reporting. However there are concerns over how this will work with internal organisational incident reporting arrangements. There is no consensus with the examples below highlighting the issues. NO - the regulations should not enforce a link to yellow card scheme, it should require manufacturers to provide patients with the relevant information for them to report. This development load may be difficult with the UI of some software and take people outside of the context of the actual thing they were doing at the time (which could introduce a risk). It also bypasses the governance arrangements within health institutes and the SI reporting in the four nations. The digital Yellow Card should however be updated to say ‘Software / App’ as a category. YES - Users of software do not think to report issues with software through the Yellow Card scheme or at all (even to developers). Software exceptions/errors/crashes should inform the user to report an incident via the Yellow Card scheme (where possible). The ‘hyperlink’ should include prepopulated information from the software to complete as much of the Yellow Card report as possible. The onus should be on the manufacturer to make this as easy as possible for the users of their software. | Adding a hyperlink to the MHRA digital yellow card scheme seems to be a simple, moderate and cheap means to improve adverse incident reporting. However there are concerns over how this will work with internal organisational incident reporting arrangements. NO - the regulations should not enforce a link to yellow card scheme, it should require manufacturers to provide patients with the relevant information for them to report. This development load may be difficult with the UI of some software and take people outside of the context of the actual thing they were doing at the time (which could introduce a risk). It also bypasses the governance arrangements within health institutes and the SI reporting in the four nations. The digital Yellow Card should however be updated to say ‘Software / App’ as a category. YES - Users of software do not think to report issues with software through the Yellow Card scheme or at all (even to developers). Software exceptions/errors/crashes should inform the user to report an incident via the Yellow Card scheme (where possible). The ‘hyperlink’ should include prepopulated information from the software to complete as much of the Yellow Card report as possible. The onus should be on the manufacturer to make this as easy as possible for the users of their software.
63.3 | Do you think that regulations should enable predetermined change control plans? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
63.4 | If you answered ‘yes’ to question 63.3, what should these entail? Please set out your rationale, any expected impact and any available relevant evidence. | Predetermined change management plans (PCCP) for the total lifespan of a product, incorporating foreseeable changes, would help both developers, implementer/users and regulators have a transparent view of a system. The impact of for example changes in device classification should be considered. If those changes are within a defined scope and subject to the conformity assessment QMS and ongoing Single Audit Programme then assurances can be achieved. Assessment by the Notified Body on the impact of predetermined changes will be required: Change in device classification, intended use, clinical evaluation etc. Pre-determined change control plans need to include rapid notification of changes to users. | Predetermined change management plans (PCCP) for the total lifespan of a product, encorporating forseeable changes, would help both developers, implementer/users and regulators have a transparent view of a system. The impact of for example changes in device classification should be considered. If those changes are within a defined scope and subject to the conformity assessment QMS and ongoing Single Audit Programme then assurances can be achieved. Assessment by the Notified Body on the impact of predetermined changes will be required: Change in device classification, intended use, clinical evaluation etc. Pre-determined change control plans need to include rapid notification of changes to users.
Section 64 - SaMD Cyber Security
64.1 | Do you consider existing UK medical devices regulations need to include cyber security and/or information security requirements? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
64.2 | If you have answered ‘yes’ to question 64.1, what should this entail and why? What would be the expected impacts? | As already stated in additions to the ER of UK MDR 2002 Q62 'Example in EU MDR 2017: Annex I 17.4. Manufacturers shall set out minimum requirements concerning hardware, IT networks characteristics and IT security measures, including protection against unauthorised access, necessary to run the software as intended.' CyberSecurity should be incorporated into the Essential requirements as in the EU MDR 2017 (see Q62). It is important to note that CyberSecurity is an on-going process, and manufacturers need to consider how to continuously support cybersecurity as part of post-market surveillance. Manufacturers also need to consider not only risks to their own device, but the risks their devices pose to other systems on the same network. | As already stated in additions to the ER of UK MDR 2002 Q62 'Example in EU MDR 2017: Annex I 17.4. Manufacturers shall set out minimum requirements concerning hardware, IT networks characteristics and IT security measures, including protection against unauthorised access, necessary to run the software as intended.'Cyber Security should be incorporated into the Essential requirements as in teh EU MDR 2017 (see Q62). It is important to note that CyberSecurity is an on-going process, and manufacturers need to consider how to continuously support cybersecurity as part of post-market surveillance. Manufacturers also need to consider not only risks to their own device, but the risks their devices pose to other systems on the same network.
64.3 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 64.1-64.2, including any impacts on you or other stakeholder groups. | Cybersecurity is a major concern to healthcare organisations, with attacks being either inadvertent or targeted. Incidents such as WannaCrypt and the recent ransomware attacks on the Irish healthcare service demonstrate their impact on service provision. Medical devices will often also store sensitive patient data. SaMD will inevitably be running on networked systems, which means that it is exposed to risks from other systems, but also potentially poses a risk to other high risk systems on the same network (ISO 80001). Manufacturers must consider both aspects. The manufacturer must consider cybersecurity in the development of SaMD, and work with the healthcare provider deploying it to ensure that the device is secure. | Cybersecurity is a major concern to healthcare organisations, with attacks being either inadvertent or targeted. Incidents such as WannaCrypt and the recent ransomware attacks on the Irish healthcare service demonstrate their impact on service provision. Medical devices will often also store sensitive patient data. SaMD will inevitably be running on networked systems, which means that it is exposed to risks from other systems, but also potentially poses a risk to other high risk systems on the same network (ISO 80001). Manufacturers must consider both aspects. The manufacturer must consider cybersecurity in the development of SaMD, and work with the healthcare provider deploying it to ensure that the device is secure.
Section 65 - Artificial intelligence as a/in a medical device (AIaMD)
65.1 | Are there other statutory changes required to effectively regulate AIaMD over and above the changes detailed for SaMD above? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Don't know | Don't Know
65.2 | If you have answered ‘yes’ to question 65.1, please outline what additional changes you consider are required. | More consensus that special rules for AIaMD in the regulations are not necessary if the regulations mandate best practice/state-of-the-art. AI guidance is rapidly changing and regulation may not keep up. Some other opinions: Suggest a light touch addition to the essential requirements might be sufficient: “For devices and software that incorporate Artificial Intelligence, the devices shall also be developed and manufactured in accordance with ethical AI principles”. The ER or GSPR of UK MDR or EU MDR should reflect the use of AI and Machine Learning. This needs underpinned by appropriate harmonised standards to include Guidance to the application of AI & ML within Risk Management IEC14971 and Evaluations Process Standard e.g. IEC “Artificial Intelligence/Machine Learning-enabled Medical Device – Performance Evaluation Process” still to be developed Stating populations that the AI has been validated should not be specific to AIaMD, but all Medical Devices! as per EU MDR (32:2:b)"the intended purpose of the device and any indications, contraindications and target populations;" as part of safety and clinical performance summary. The requirement for regular performance review, is this not consistent with post-market surveillance/clinical follow-up plan? Again Validation is acknowledged to be outside of regs | Suggest a light touch addition to the essential requirements might be sufficient: “For devices and software that incorporate Artificial Intelligence, the devices shall also be developed and manufactured in accordance with ethical AI principles”. The ER or GSPR of UK MDR or EU MDR should reflect the use of AI and Machine Learning. This needs underpinned by appropriate harmonised standards to include Guidance to the application of AI & ML within Risk Management IEC14971 and Evaluations Process Standard e.g. IEC “Artificial Intelligence/Machine Learning-enabled Medical Device – Performance Evaluation Process” still to be developed
65.3 | Do you consider the use of IVDR-type performance evaluation methods (akin to scientific validity, analytical performance, and clinical performance) for diagnostic software but especially AI (even where no IVD data is used) to be appropriate? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
65.4 | If yes, do you think the UK medical devices regulations should be amended to require this? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | Yes | Yes
65.5 | Should the UK medical devices regulations mandate logging of outputs of further auditability requirements for all SaMD or just AlaMD for traceability purposes? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion’) | No | No
65.6 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 65.1-65.5, including any impacts on you or other stakeholder groups, including how burdensome would further requirements along these lines be? | Q65.1: it should be stipulated that state-of-the-art development and validation is required for the production of Medical Devices. What is state-of-the-art is not defined within the regulations for SaMD, however, it is recognised to be following international standards and recommendations. If specifics are added for AIaMD, then this is a departure from this model, and the specific clauses added may in future not correspond to State-of-the-Art. It is therefore sufficient to say that AIaMD, as with any SaMD, should follow best practice. 65.3) SaMD should also require scientific validity, analytical performance, and clinical performance evaluation. The "especially AI" is not required. 65.5) logging requirements should be for all SaMD, not just AIaMD. Logging requirements should be based on risk class, if required. Q65.3-65.4 This may aid with interpretability and clinical decision making. Q65.5 SaMD outputs will be reproducible given the correct UDI has been recorded against the inputs used. You can run an older version of the SaMD and use the same inputs. Q65.5 Traceability should always be possible and it needs to be auditable. | Q65.1: it should be stipulated that state-of-the-art development and validation is required for the production of Medical Devices. What is state-of-the-art is not defined within the regulations for SaMD, however, it is recognised to be following international standards and recommendations. If specifics are added for AIaMD, then this is a departure from this model, and the specific clauses added may in future not correspond to State-of-the-Art. It is therefore sufficient to say that AIaMD, as with any SaMD, should follow best practice. 65.3) SaMD should also require scientific validity, analytical performance, and clinical performance evaluation. The "especially AI" is not required. 65.5) logging requirements should be for all SaMD, not just AIaMD. Logging requirements should be based on risk class, if required. Q65.3-65.4 This may aid with interpretability and clinical decision making. Q65.5 SaMD outputs will be reproducible given the correct UDI has been recorded against the inputs used. You can run an older version of the SaMD and use the same inputs. Q65.5 Traceability should always be possible and it needs to be auditable.

## Ch11 Implantable Devices
Questions |  | FINAL | Shared Response
Section 66 - Implantable Devices
66.1 | Do you think there should be any changes to the scope of medical devices regulated as implantable devices? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’)
66.2 | If you have answered ‘yes’ to question 66.1, please set out any implantable devices you consider should be brought into or removed from the scope of implantable devices regulated.
66.3 | Please set out your reasoning in relation to questions 66.1 and 66.2, and any expected impacts (including implementation considerations). Please consider whether any further clarity is needed on what is out of scope of regulated implantable medical devices.
66.4 | Q66.4 In relation to implantable devices, do pre-market evidence requirements need to change, particularly in respect to: a. clinical investigations: should requirements for clinical investigations be more robust than those conducted for non-implantable devices? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) b. technical documentation reviews: should requirements be more robust than those for non-implanted devices of the same risk category? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) c. any exemptions required for certain implantable devices (e.g. screws, wedges)? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | a) Yes b) Yes c) No opinion | a) Yes b) Yes c) No opinion
66.5 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 68.1-68.4, including any impacts on you or other stakeholder groups. | We would encourage a guidance statement ‘somewhere’ in chapter to state how healthcare providers should record implant information being implanted i.e. to ensure that they should do it. Missing or ambiguous implant information in medical records can lead to patients being put at risk. Whatever is in place should be proportionate to the risk of the device. | A guidance statement ‘somewhere’ in chapter to state how healthcare providers should record implant information being implanted i.e. to ensure that they should do it. Missing or ambiguous implant information in medical records can lead to patients being put at risk. Whatever is in place should be proportionate to the risk of the device.
66.6 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 68.1-68.4, including any impacts on you or other stakeholder groups.
66.7 | Should there be more stringent controls over the use of implantable devices? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
66.8 | Please select any/all of the options listed in paragraph 66.4 (d) you consider should be introduced: • being supplied only to medical device users in centres specialising in their use • being supplied to medical device users by practitioners with specialist expertise and experience in the treatment of the condition requiring the device • administered with proactive follow up with patients (for example, monitoring longer term patient outcomes or feedback post-implant )
66.9 | Are there any other controls over implantable devices you think should be introduced ?
66.10 | Do you think that post-market requirements for implantable devices could be strengthened by: a. clarifying or strengthening the requirements around use of obsolete models of implantable medical devices? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) b. introducing a requirement for implant information to be provided to recipients of implantable devices? (Yes/No/Don’t Know/No Opinion ) | a) Yes b) don’t know. Perhaps the baseline requirement should be on healthcare providers to record what is being implanted in patients such that this should be available to patients or any appropriate third party | a) Yes b) don’t know. Perhaps the baseline requirement should be on healthcare providers to record what is being implanted in patients such that this should be available to patients or any appropriate third party
66.11 | Are there any other controls over implantable devices you think should be introduced ? | Yes | Yes
66.12 | If you have answered ‘yes’ to question 66.11: a. should manufacturers be required to provide implant cards/leaflets to healthcare settings/professionals? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) b. what should be included on the implant card and patient information leaflet ? c. should manufacturers be required to make available implant information in both physical and digital formats, (for example, in the form of a card, leaflet or other appropriate format)? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) d. Should the manufacturer be required to update the digital implant information where appropriate? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) e. should health institutions be required to make this information available to patients who have been implanted with the device? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) f. should health institutions be required to log the implant information onto the records of the patient implanted with the device? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | a) Yes, but won’t work in all circumstances so perhaps some threshold needed. More information for active implanted medical devices (for example). b) Details of implant composition, properties and processing which could affect its response to or influence on imaging or treatment modalities (e.g. MRI safety information), and/or links to where such information can be found. c) Yes d) Yes e) No… though there may be some circumstances where this is appropriate - but healthcare providers should record implant information properly f) YES | a) Yes, but won’t work in all circumstances so perhaps some threshold needed. More information for active implanted medical devices (for example). b) MR Safety Information c) Yes, sometimes d) Yes e) No… though there may be some circumstances where this is appropriate - but they (healthcare providers) absolutely should record implant information properly f) YES
66.13 | Are there any implants that should be excluded from the requirement to have accompanying implant information? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’)
66.14 | If you have answered ‘yes’ to question 66.13, please outline what types of implant should be excluded and why. In your response, please set out any expected impact(s), with consideration of how these could be defined best for clarity of what is in scope of the exemption .)
66.15 | Is there further information we should collect and share about implantable medical devices in particular? (‘Yes’ / ’No’ / ’Don’t Know/No Opinion ’) | Yes | Yes
66.16 | Please set out your rationale for your answer to question 66.15. If yes, please include any detail of information you consider should be collected and shared . | It would be beneficial the UDI will include MR Safety labelling and details of any MR conditions / links to information on the central database. Also, date products come to market and leave market would be helpful to record on the MHRA database or whatever UKCA database that is created MR safety information is becoming increasingly important as MR is such a key diagnostic utility for so many patients. Dates to and leaving market can be useful to know for creating safety policies and this sometimes involves stratifying patient implant by dates on the market | It would be beneficial the UDI will include MR Safety labelling and details of any MR conditions / links to information on the central database. Also, date products come to market and leave market would be helpful to record on the MHRA database or whatever UKCA database that is created MR safety information is becoming increasingly important as MR is such a key diagnostic utility for so many patients. Dates to and leaving market can be useful to know for creating safety policies and this sometimes involves stratifying patient implant by dates on the market
66.18 | Are there any other key considerations you would like to raise regarding changes to the regulatory framework for implantable medical devices ? | We suggest there be a requirement on Health Institutions to always ensure a record of what they are implanting in their patients (manufacturer, device name, serial number) in the patient's medical records. | There appears to be no legal requirement or best, good or basic practice clinical guidelines that from either surgical college or other relevant body that states the simple fact that healthcare institutions must ensure a record of what they are implanting in their patients

## Ch12 Other Product-Specific Cha
Questions |  | FINAL | Shared Response
Section 67 - Re-manufacturing single-use devices
67.1 | Do you think that the UK medical devices regulations should include the requirements for re-manufacturers of single-use medical devices set out in paragraph 67.5? (Yes / No / Don’t know / No opinion) | Don't Know | Don't Know
67.2 | Please outline any other requirements which should be introduced for the re-manufacturing of single-use devices. | In principle this should be allowed, but it is difficult to see how the description set out in para. 67.1 and the conditions set out in para 67.5 can be met in all cases without access to the original manufacturer’s technical files. Perhaps a first condition in 67.5 should be “Where possible, the re-manufacturer has access to the original manufacturer’s files” This would allow the original manufacturer to set up re-manufacturing themselves or through an associated or subsidiary company. But why would they? A particular problem arises when single use devices are modified via means of in house modification (e.g. plates / guides moulded into custom made devices via a Maxillofacial Laboratory) that may need subsequent 're-processing' e.g. washer-disinfection and sterilisation, via a health institution facility. This therefore has the potential to compromise the QMS of the sterilisation facility if reprocessing is outside of the original manufacturer's instructions. | In principle this should be allowed, but it is difficult to see how the description set out in para. 67.1 and the conditions set out in para 67.5 can be met in all cases without access to the original manufacturer’s technical files. Perhaps a first condition in 67.5 should be “Where possible, the re-manufacturer has access to the original manufacturer’s files” This would allow the original manufacturer to set up re-manufacturing themselves or through an associated or subsidiary company. But why would they? A particular problem arises when single use devices are modified via means of in house modification (e.g. plates / guides moulded into custom made devices via a Maxillofacial Laboratory) that may need subsequent 're-processing' e.g. washer-disinfection and sterilisation, via a health institution facility. This therefore has the potential to compromise the QMS of the sterilisation facility if reprocessing is outside of the original manufacturer's instructions.
67.3 | Do you think the UK medical devices regulations should introduce the requirements set out in paragraph 67.6 for re-manufacturers of single-use devices on behalf of healthcare institutions? (Yes / No / Don’t know / No opinion) | Yes | Yes
67.4 | Please outline any other requirements which should be introduced for the re-manufacturing of single-use devices within healthcare institutions. | As in 67.2, consider when single use devices are modified via means of in house modification (e.g. plates / guides moulded into custom made devices via a Maxillofacial Laboratory) that may need subsequent 're-processing' e.g. washer-disinfection and sterilisation, via a health institution facility - which therefore has the potential to compromise the QMS of the sterilisation facility if reprocessing is outside of the original manufacturer's instructions. | As in 67.2, consider when single use devices are modified via means of in house modification (e.g. plates / guides moulded into custom made devices via a Maxillofacial Laboratory) that may need subsequent 're-processing' e.g. washer-disinfection and sterilisation, via a health institution facility - which therefore has the potential to compromise the QMS of the sterilisation facility if reprocessing is outside of the original manufacturer's instructions.
67.5 | Do you think that the MHRA should allow the re-manufacturing of Class I single-use medical devices? (Yes / No / Don’t know / No opinion) | No | No
67.6 | If you have answered ‘yes’ to question 67.5 please outline what the requirements should be in place for the re-manufacturing of Class I single-use medical devices. | Agree with the reasons for not allowing | Agree with the reasons for not allowing
67.7 | Do you think that the MHRA should continue to allow the reprocessing of single-use devices? (Yes / No / Don’t know / No opinion) | No | No
67.8 | If you have answered ‘yes’ to question 67.7 please outline what requirements should be put in place for re-processing of single-use devices. | Our understanding is that current guidance is strongly against re-processing/re-use of single use devices. | Our understanding is that current guidance is strongly against re-processing/re-use of single use devices.
67.9 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 67.1-67.8, including any impacts on you or other stakeholder groups. | It is impossible to understand how a manufacturer can safely re-manufacture a medical device or reprocess a single use device without access to the full technical file from the original manufacturer. The Maxillofacial example given above occurs when a custom-made device is made under contract by an outside supplier and then has to have fixing plates or guides added in the Maxfacs lab for the individual patient. It then has to be re-processed i.e. disinfected and sterilised before fitting by the clinician. This is not reuse of the custom-made device and it could be argued that that the contracted part is only a component of the final device, so is not yet a ‘medical device’ and thus the regulations do not apply. For a metallic implant (max-fac, orthopaedic or plastic surgery related) it would similarly be difficult if not impossible for the “re-processor” to control the processes and properties of the reworked device without knowing the original composition and state of the implant. | It is impossible to understand how a manufacturer can safely re-manufacture a medical device or reprocess a single use device without access to the full technical file from the original manufacturer. The Maxillofacial example given above occurs when a custom-made device is made under contract by an outside supplier and then has to have fixing plates or guides added in the Maxfacs lab for the individual patient. It then has to be re-processed i.e. disinfected and sterilised before fitting by the clinician. This is not reuse of the custom-made device and it could be argued that that the contracted part is only a component of the final device, so is not yet a ‘medical device’ and thus the regulations do not apply. For a metallic implant (max-fac, orthopaedic or plastic surgery related) it would similarly be difficult if not impossible for the “re-processor” to control the processes and properties of the reworked device without knowing the original composition and state of the implant.
Section 68 - Systems, kits and procedure packs
68.1 | Do you think that the UK medical devices regulations should include the term ‘kit’ when referring to medical devices and products which are assembled together? (Yes / No / Don’t know / No opinion) | Y | Y
68.2 | Should the definitions of systems, procedure packs and kits allow external software (e.g. a specific app identified in the labelling) to be considered as a component of the system, procedure pack or kit? (Yes / No / Don’t know / No opinion) | Y | Y
68.3 | Do you think that assemblers of systems, kits and procedure packs should be required to implement procedures for the factors listed in paragraph 68.6? (Yes / No / Don’t know / No opinion) | Y | Y
68.4 | Please outline any other requirements that you think we should introduce for system and procedure packs and the sterilisation of system and procedure packs.. | Additional clarity within UK MDR (or guidance) would be beneficial, Sterile services currently undertake an initial review on compatibility within sets or multi manufacturer's. This should form part of the Manufacturer IFU's”. | Additional clarity within UK MDR (or guidance) would be beneficial, Sterile services currently undertake an initial review on compatibility within sets or multi manufacturer's. This should form part of the Manufacturer IFU's”.
68.5 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 68.1-68.4, including any impacts on you or other stakeholder groups. | Additional comment The definition of a system given above is problematic in the context of Medical Electrical Systems (MES). This term is defined in IEC 60602-1 and requirements for safety given in clause 16. Within health institutions it is common to bring together more than one item of medical electrical equipment into a MES, but not intending to achieve a specific medical purpose. E.g. a stack of infusion devices safety powered from a single mains socket, or a HF surgery unit and a smoke extractor on the same trolley with a single mains supply cord. The OEM may not specifically intend this configuration to happen and the purpose is overall reduction of risk from multiple trailing mains leads rather than a medical purpose. Similarly, it is common for wheelchair services to mount life-support devices onto wheelchairs. These systems do have an overall medical purpose Such activity should be carried out under QMS systems in place for in-house manufacture of MDs. The items a. to d. in 68.5 above are appropriate. Risk assessment is necessary in both examples but clinical evaluation is not relevant in the first which is an operational H&S issue. This could be made clear in guidance. 68.2 Additional software/Apps are sometimes provided as free with medical devices and the user assumes they can be used for medical purposes but the manufacturer has not clearly stated this. Such software should be considered as a component of the medical device / kit unless it is provided separately and clearly indicating not for medical purposes. | Within health institutions it is common to bring together more than one item of medical electrical equipment into a Medical Electrical Systems (MES), but not intending to achieve a specific medical purpose. E.g. a stack of infusion devices safety powered from a single mains socket, or a HF surgery unit and a smoke extractor on the same trolley with a single mains supply cord. The OEM may not specifically intend this configuration to happen and the purpose is overall reduction of risk from multiple trailing mains leads rather than a medical purpose. Similarly, it is common for wheelchair services to mount life-support devices onto wheelchairs. These systems do have an overall medical purpose Such activity should be carried out under QMS systems in place for in-house manufacture of MDs. The items a. to d. in 68.5 above are appropriate. Risk assessment is necessary in both examples but clinical evaluation is not relevant in the first which is an operational H&S issue. This could be made clear in guidance. 68.2 Additional software/Apps are sometimes provided as free with medical devices and the user assumes they can be used for medical purposes but the manufacturer has not clearly stated this. Such software should be considered as a component of the medical device / kit unless it is provided separately and clearly indicating not for medical purposes.
Section 69 - Parts and components
69.1 | Do you think that the UK medical devices regulations should require that any individual or company who supplies an item specifically intended to replace an identical or similar integral part or component of a medical device that is defective or worn should ensure that the item does not negatively affect the safety and performance of the medical device? (Yes / No / Don’t know / No opinion) | Y | Y
69.2 | Do you think an item that is intended specifically to replace a part or component of a medical device and that significantly changes the performance or safety characteristics or the intended purpose of the medical device could be considered to be a medical device in its own right and therefore be required to meet the requirements of the UK medical devices regulations? (Yes / No / Don’t know / No opinion) | Y | Y
69.3 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 69.1-69.2, including any impacts on you or other stakeholder groups | 69.1 It would be disproportionate to require in regulation that all spare parts must be supplied by the MD OEM. If the item is not supplied by the OEM of the MD, and the item is an ‘accessory for a medical device’ (which must be defined in the regulations) then the manufacturer of that ‘accessory for a medical device’, is in effect supplying a MD. If the item is not an ‘accessory for a medical device’ but is ‘specifically intended’ to replace a part in a medical device, e.g. a non OEM custom battery pack for a defibrillator, then the obligation in Q69.1 falls to that manufacturer/supplier. If the item is not an accessory for a medical device and is not ‘specifically intended’ to replace a part in a medical device (nuts, bolts, electronic components etc.) the OEM of those components cannot be expected to carry out that assessment. A risk assessment should be carried out and documented by the organization fitting and therefore ‘putting into service’ the spare part/item. Suppliers of medical device accessories must ensure that those non-OEM accessories are MDs, this can happen when wheelchairs are adapted using OEM and non-OEM accessories. Clarity in guidance would be welcome | 69.1 It would be disproportionate to require in regulation that all spare parts must be supplied by the MD OEM. If the item is not supplied by the OEM of the MD, and the item is an ‘accessory for a medical device’ (which must be defined in the regulations) then the manufacturer of that ‘accessory for a medical device’, is in effect supplying a MD. Suppliers of medical device accessories must ensure that those non-OEM accessories are MDs, this can happen when wheelchairs are adapted using OEM and non-OEM accessories. Clarity in guidance would be welcome
Section 70 - Custom-made devices
70.1 | Do you think that the UK medical devices regulations should include more detailed requirements for the technical documentation that must be drawn up and kept by the manufacturer of a custom-made device, such as those outlined in paragraph 70.5? (Yes / No / Don’t know / No opinion) | Y | Y
70.2 | Do you think that the UK medical devices regulations should introduce more stringent requirements for the post-market surveillance of custom-made devices, such as those outlined in paragraph 70.6? (Yes / No / Don’t know / No opinion) | Y | Y
70.3 | Do you think that the UK medical devices regulations should require manufacturers of certain custom-made devices to implement a QMS which must be certified by an Approved Body? (Yes / No / Don’t know / No opinion) | Y | Y
70.4 | If you have answered ‘yes’ to Q 70.3, please outline what types/classes of custom-made devices should fall under this requirement. | All risk classes for custom made devices placed on the market. In-house manufactured custom-made devices should be carried out under an externally audited QMS (as with all in-house manufacture and use) but the requirement for an Approved Body input for in-house manufactured devices should apply only to Class III devices | All risk classes for custom made devices placed on the market. In-house manufactured custom-made devices should be carried out under an externally audited QMS (as with all in-house manufacture and use) but the requirement for an Approved Body input for in-house manufactured devices should apply only to Class III devices
70.5 | Please outline any further requirements which should be introduced for manufacturers of custom-made devices. | Re. para 70.5 A full clinical evaluation should not be required for every individual custom made device. A clinical evaluation for a ‘family’ of custom made devices that have similar clinical applications, materials and manufacturing processes should be drawn up. This should be referenced in the documentation for each individual device, with any deviations/amendments in process noted. | Re. para 70.5 A full clinical evaluation should not be required for every individual custom made device. A clinical evaluation for a ‘family’ of custom made devices that have similar clinical applications, materials and manufacturing processes should be drawn up. This should be referenced in the documentation for each individual device, with any deviations/amendments in process noted.
70.6 | Do you agree that custom-made devices could be manufactured on the basis of an electronic prescription, as outlined in paragraph 70.8? (Yes / No / Don’t know / No opinion) | Y | Y
70.7 | Please provide your reasoning (including any available relevant evidence) to support your answers to questions 70.1-70.6, including any impacts on you or other stakeholder groups. | See above regarding QMS and clinical evaluation. Q70.4 For in-house manufactured devices, an externally audited QMS is essential but access to Approved Body certification is limited and costly. If this were mandatory for all Classes of in-house manufactured devices, or even for those above Class I, then there is not really any ‘health institution exemption’ and in-house development would in most cases e.g. for one-off developments, be uneconomical and thus not supported financially, to the detriment of patients and development. Re. para 70.1 and Q70.6 The phrase ‘medical practitioner’ should be clarified such that it does not just mean a medical doctor. Reference could be made to "Healthcare Professional" as other professionals such as clinical scientists and therapists can prescribed custom made devices. | See above regarding QMS and clinical evaluation. Q70.4 For in-house manufactured devices, an externally audited QMS is essential but access to Approved Body certification is limited and costly. If this were mandatory for all Classes of in-house manufactured devices, or even for those above Class I, then there is not really any ‘health institution exemption’ and in-house development would in most cases e.g. for one-off developments, be uneconomical and thus not supported financially, to the detriment of patients and development. Re. para 70.1 and Q70.6 The phrase ‘medical practitioner’ should be clarified such that it does not just mean a medical doctor. Reference could be made to "Healthcare Professional" as other professionals such as clinical scientists and therapists can prescribed custom made devices.

## Ch 15 Transitional Arrangements
Questions |  | FINAL | Shared Response
Section 74 - Transitional Arrangements
74.1 | Do you think that we should introduce the transitional arrangements proposed above in Option 1? ( (Yes / No / Don’t know / No opinion) | Don't Know | Don't Know
74.2 | Do you think that we should introduce the transitional arrangements suggested above in Option 2? (Yes / No / Don’t know / No opinion) | Yes | Yes
74.3 | Please give your reasoning for your answer to questions 74.1-74.2. If you have answered ‘yes’ to either question, please include what you consider the required arrangement(s) and any expected impacts of these on you or other stakeholder groups. | Q74.1 It seems highly improbable that all the very many CE marked devices and IVDs not manufactured in UK will meet the requirements of the UK Regulations by 1 July 2023. By then most CE marked devices will have to meet the EU 2017 Regulations (though the situation with IVDs is more fluid and uncertain) . It is not clear whether UKCA certification can be issued against the existing 2002 regulations as amended to date, which are based on the EU MDD. This cannot be considered ‘state of the art’. (Hence the ‘Don’t know’ answer). Such certification (if allowed) should not extend beyond the expiry of the certificate or beyond 1 year from 1 July 2023 whichever is sooner. If UKCA certification can only be against the new proposed UK regulations when they come into force, then certification can remain valid until expiry plus 1 year. It will be very important that valid CE marked devices remain available for a considerable period of time. The introduction of new UK regulations will inevitably push up costs but a premature cut off of CE marked devices is likely to, at the very least, result in significantly reduced choice for health institutions and possibly actual shortages. | Q74.1 It seems highly improbable that all the very many CE marked devices and IVDs not manufactured in UK will meet the requirements of the UK Regulations by 1 July 2023. By then most CE marked devices will have to meet the EU 2017 Regulations (though the situation with IVDs is more fluid and uncertain) . It is not clear whether UKCA certification can be issued against the existing 2002 regulations as amended to date, which are based on the EU MDD. This cannot be considered ‘state of the art’. (Hence the ‘Don’t know’ answer). Such certification (if allowed) should not extend beyond the expiry of the certificate or beyond 1 year from 1 July 2023 whichever is sooner. If UKCA certification can only be against the new proposed UK regulations when they come into force, then certification can remain valid until expiry plus 1 year. It will be very important that valid CE marked devices remain available for a considerable period of time. The introduction of new UK regulations will inevitably push up costs but a premature cut off of CE marked devices is likely to, at the very least, result in significantly reduced choice for health institutions and possibly actual shortages.
74.4 | Do you agree with the transitional arrangements suggested in Option 5 above? (Yes / No / Don’t know / No opinion) | Yes | Yes
74.5 | Please give you reasoning for your answer to question 74.4. | It would be disproportionate and counter productive and unfair to trial volunteers, to require clinical evaluations started before 1 July 2023 to be restarted. The provisos you suggest are sensible. | It would be disproportionate and counter productive and unfair to trial volunteers, to require clinical evaluations started before 1 July 2023 to be restarted. The provisos you suggest are sensible.
74.6 | Please set out any other transitional arrangements or considerations you believe are required for putting in place a future regime for medical devices in the UK, why, and the expected impacts on you and other stakeholder groups. | The continued acceptance of CE marked devices to the EU 2017 regulations for a transitional period should be accompanied by a requirement for non-UK manufacturers to register with the MHRA and have a authorized representative in the UK and apply the post market follow up and reporting requirements, but should not require conformity assessment testing by a UK AB. | The continued acceptance of CE marked devices to the EU 2017 regulations for a transitional period should be accompanied by a requirement for non-UK manufactures to register with the MHRA and have a authorized representative in the UK and apply the post market follow up and reporting requirements, but should not require conformity assessment testing by a UK AB.
74.7 | How many years after 1 July 2023 should the MHRA accept UKCA certificates / declarations of conformity issued before 1 July 2023? That is, what would be a suitable ‘specific date’ for Option 1 above? (30 June 2025, 30 June 2026 or Other please specify). | Other If UKCA certification is to the old EU MDD based UK regulations the 30 June 2023. If UKCA certification is to the new proposed UK regulations, then 30 June 2026 with the usual proviso of no significant changes. | Other If UKCA certification is to the old EU MDD based UK regulations the 30 June 2023 If UKCA certification is to the new proposed UK regulations, then 30 June 2026 with the usual proviso of no significant changes.
74.8 | How many years after 1 July 2023 the date of implementation of the Regulations should the MHRA accept CE certificates issued before 1 July 2023? That is, what would be a suitable ‘specific date’ for Option 2 above? (30 June 2027, 30 June 2028 or Other please specify). | Other Assuming CE certification is to the EU 2017 Regulations (as amended), then 30 June 2028 with the above provisos. | Other Assuming CE certification is to the EU 2017 Regulations (as amended), then 30 June 2028 with the above provisos.
74.9 | For how long after expiry of the certificate/declaration of conformity or after the ‘specified date’ should devices covered by the transitional options 1 and 2 be permitted to be supplied to the UK market? (They should not be permitted to be supplied after expiry or cut-off date; 6 months; 12 months) | 12 months | 12 months
74.10 | Q74.10 What additional checks, if any, would you consider to be necessary to allow CE marked products to remain on the Great Britain market after 1 July 2023? | As mentioned: Registration with MHRA UK authorised representative Apply the UK regulations in respect of post market reporting to MHRA. | As mentioned: Registration with MHRA UK authorised representative Apply the UK regulations in respect of post market reporting to MHRA.
74.11 | Please provide your reasoning for your proposed dates above. | See response to Q74.1 Additional Comments: Clinical Engineering and Medical Physics Departments, Rehabilitation Engineering Units, Wheelchair Services, Maxillofacial Laboratories and some other services (e.g. the Welsh Blood Service) have made good progress towards fulfilling the requirements of Article 5.5 of the EU MDR, though the consequences of Covid and the non-application of the EU Regulation has slowed progress. Less clear is the progress made by department such as Occupational Therapy and Podiatry who make custom-made Class I devices for issue to patients. Transitional arrangements require consideration for those wishing to operate under a health institute exemption, considering any additional or substantially different requirements (beyond EU 2017 Regulations) that may become applicable through UK legislation e.g. potential for additional requirements for SaMD, AIMD and / or devices that are considered ‘higher risk’ and / or custom made. We suggest that any health institute exemption requirements should become mandatory one year after the date of full application of the new UK regulations, provided these are not radically different in this respect from those set out in the EU Regulations. It is recognised N.Ireland is required to meet the EU MDRs but IPEM recommend these HIE requirements are fully implemented in line with the rest of the proposed GB. | See response to Q74.1 Additional Comments: Clinical Engineering and Medical Physics Departments, Rehabilitation Engineering Units, Wheelchair Services, Maxillofacial Laboratories and some other services (e.g. the Welsh Blood Service) have made good progress towards fulfilling the requirements of Article 5.5 of the EU MDR, though the consequences of Covid and the non-application of the EU Regulation has slowed progress. Less clear is the progress made by department such as Occupational Therapy and Podiatry who make custom-made Class I devices for issue to patients. Transitional arrangements require consideration for those wishing to operate under a health institute exemption, considering any additional or substantially different requirements (beyond EU 2017 Regulations) that may become applicable through UK legislation e.g. potential for additional requirements for SaMD, AIMD and / or devices that are considered ‘higher risk’ and / or custom made. We suggest that any health institute exemption requirements should become mandatory one year after the date of full application of the new UK regulations, provided these are not radically different in this respect from those set out in the EU Regulations. It is recognised N.Ireland is required to meet the EU MDRs but IPEM recommend these HIE requirements are fully implemented in line with the rest of the proposed GB.